## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD Iit Kanpur
Name of Work: SITC of 05 x 02.0 tr FCU’s (Modular) Ceiling/wall type i/c dismantling old/defactive floor mounted FCU's and associated work at SL-211 .
Contract No: 21/AC/EE/2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of M.S. chilled/condenser water piping plumbing i/c fabrication of bends / elbows, tees, reducers etc) inside the building (with necessary clamps, wooden/puff support, vibration isolators, primer/ enamel paint, fittings but excluding valves, strainers, gauges etc.) as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150mm & below shall be M.S. ‘C’ class as per IS : 1239 and pipes size above 150mm shall be welded black steel pipe heavy class as per IS: 3589, from minimum 6.35mm thick M.S. Sheet for pipes up to 350 mm dia. and from minimum 7mm thick MS sheet for pipes of 400 mm dia and above. | Item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 25 mm | item2 | 2 | Mtr | 703 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 32 mm | item3 | 12 | Mtr | 802 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 40 mm | Item4 | 18 | Mtr | 972 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | 50 mm | Item5 | 2 | Mtr | 1189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & Oring PN 16 pressure rating size 200 mm to 400 mm gear type with removable wheel and below 200 mm with hand lever operated for chilled water/hot water circulation in the chilled water plumbing duly insulated to the same specifications as the connected piping and adequately supported as per specifications as specified. | Item6 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.01 | 40 mm | Item7 | 1 | Nos | 3179 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | 50 mm | Item8 | 1 | Nos | 3734 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick fire retardant thermocole ( polystyrene) molded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with 500g polythene faced hessian cloth, wire mesh, sand-cement plaster & enamel painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | Item9 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.01 | 32 mm | Item10 | 8 | Mtr | 310 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | 40 mm | Item11 | 10 | Mtr | 331 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | 50 mm | Item12 | 2 | Mtr | 371 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying & fixing, insulation on existing pipe overhead of following sizes 25 mm thick with Aluminium faced XLPE foam pipe section fixing with dent ride and tightening of insulation section PVC tape to be wrapped all around the joints. of insulation etc complete as required. | Item13 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.01 | 25 mm | Item14 | 2 | Mtr | 194 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | 32 mm | Item15 | 8 | Mtr | 219 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.03 | 40 mm | Item16 | 10 | Mtr | 238 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | Item17 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | 20 mm | Item18 | 12 | Mtr | 319 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.02 | 25 mm | Item19 | 24 | Mtr | 392 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | SITC of modular type Fan Coil Unit (floor/wall-mounted) , The unit shall be complete with grills, insulated enclosure, drain tray, comprising of blower, 2/3 speed motor with fan speed controller, 2/3 row copper coil section, washable filter section, 2 way motorized valve with actuator, and brass flair fitting for copper pipe connection, i/c all necessary support /hangers, vibration isolators etc. complete as reqd. | Item20 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.01 | 2.0 TR | Item21 | 5 | Nos | 47195 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Providing and fixing Digital type thermostat for FCUs/AHUs commissioning i/c dismantling old if any etc. complete as reqd. | Item22 | 5 | Nos | 4568 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Providing & fixing of Brass Ball valve with Y-strainer of following size with compatible to proportioning Copper/MS pipe i/c all necessary support /hangers & dismantling old if any complete as reqd. | Item23 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.01 | 20 mm | Item24 | 5 | Nos | 1391 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Providing & fixing of Brass ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | Item25 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.01 | 20 mm | Item26 | 5 | Nos | 603 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing & fixing of SS ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | Item27 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.01 | 20 mm | Item28 | 2 | Nos | 1883 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.02 | 25 mm | Item29 | 2 | Nos | 2616 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Providing & fixing of Brass Air-Vent of following size with compatible Copper/MS pipe i/c all necessary accessories & dismantling old if any complete as reqd. | Item30 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.02 | 25 mm | Item31 | 2 | Nos | 848 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. (Make:- Anchor or Equivalent) | Item32 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.01 | 3 pin- 6 Amp. | Item33 | 4 | Nos | 119 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Providing, laying & fixing of rain forced fibber flexible/soft PVC pipe of size given below etc. complete as reqd. | Item34 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.01 | 20 mm | Item35 | 3 | Mtr | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Supply & fixing of copper piping 5/8" or 6/8" with 19 mm thick Class "O" Nitrile insulation on surface / recessed with flair nut, clamps etc. complete as reqd. | Item36 | 6 | Mtr | 718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15 | Providing, laying, testing, and commissioning of following size Un-armoured XLPE insulated Copper conductor power/control cable of following size on surface/recessed complete as required. | Item37 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | 3 Core x 1.5 Sq mm | Item38 | 30 | Mtr | 71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supply and installation UPVC mini trunking (casing-capping) & flexible conduit of following size white-system with independent cover- without central part etc as reqd | Item39 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16.01 | Flexi Conduit 20 mm | Item40 | 4 | Mtr | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.02 | UPVC trunking 20mm x 12mm | Item41 | 9 | Mtr | 78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Making wall opening up to 750 mm dia/Suitable in any type / thick of wall for pipe/duct etc and re-closing the opening with brick, sand, cement and plaster up to 20 mm i/c re-painting as per existing desigine/shape complete as required. | Item42 | 1 | Job | 681 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Providing & fixing of Thermal protecting layer (double coat ) painting over exposed MS/copper pipe insulation outer surface with approved make chemical, shade and glass cloth as per standard specification compete as required. | Item43 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.01 | 20 mm | Item44 | 6 | Mtr | 79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.02 | 25 mm | Item45 | 2 | Mtr | 85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.03 | 32 mm | Item46 | 8 | Mtr | 93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.04 | 40 mm | Item47 | 10 | Mtr | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Cutting and dismantling of damaged and defective MS'C' class pipe of size as mentioned below ( exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage etc complete as required. | Item48 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.01 | 20 mm to 100 mm dia. | Item49 | 32 | Mtr | 204 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , Nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe including shifting /dispose the waste material outside the premises of I.I.T. K. campus or desired location as reqd.. | Item50 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20.01 | 20 mm to 100 mm dia. | Item51 | 2 | Mtr | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | Cutting & dismantling of condenser / chilled water pipe line with grinder/welding machine/gas cutter for drain out the water from supply and return pipe line and making good after leakage repairing i/c re-filling of water in pipe line size from 20 mm to 400 mm dia including isolation of defective pipeline, valve operation, testing & commissioning etc as required. | Item52 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21.01 | 20 mm to 100 mm dia. | Item53 | 2 | Job | 1742 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Dismantling old/ defecative Fan coil unit of Hi-wall/wall/floor mounted or ceiling suspended type up to 3.5 TR capacity including filter and valves etc. & dipositing to sectional store Complete as required. | Item54 | 4 | Nos | 403 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 meter centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc.complete as per directions and approval of Engineer-in-charge. | Item55 | 12 | SqM | 291 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Buyback cost of existing any type FCU 2.5 TR capacity with associated parts, controller etc. and taken away from site complete as reqd | Item83 | 4 | Nos. | 3454 |  |  | Less(-) | -1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information