## Sheet1
Bill of Quantity
Name of work:-- Annual operation contract of Microscope Building AC plant (2x25 TR) & PAC plant (2x12 TR) including AHUs low side HVAC and BMS system and New Core lab building VRF AC plant (262 HP) 3rd floor.
Name of agency :-
Sl.No. | Description | Qty | Unit | Rate (Rs.) | Amount (Rs.)
1 | Annual Operation of the following Air conditioning plants
a | Microscope AC Plant Round the clock (24x7 hrs. ) annual operation of the 2 X 25 TR central chilled water AC Plant, 2 X 12 TR PAC units, all AHU's and BMS system of AC plant in the Microsecope building, i/c attending the complaints of respective building, cleaning of filters, valves, strainers, electrical panels etc | 12 | Months |  | 0
b | New Core lab VRF AC Plant Annual operation of (6x18+8x14 +2x21)HP VRF type Air conditioning system at 3rd floor of new core lab building i/c attending the complaints of respective indoor & outdoor units, cleaning of filters electrical panels etc.
And other related works as assigned by Engineer Incharge as per scope of works etc (Log book entry and monitering comsuption will be the part of annual operation contract)
| Total |  |  |  | 0