## Sheet1
Original Estimate
N/W | Replacement of damaged door of bathroom & terrace door House No.- I-6 SBRA, providing & fixing wire mesh door at entrance of house no. B-103, F/A i/c internal white washing & painting of house no. Y-5, I-6 & Z-1 SBRA and B-103, F/A
Estimate ID : kk. Tender 6
SLNo | Description | Qty | Unit | Rate | Amount | DSR No.
1 | WOOD AND PVC WORK |  |  |  |  | 9
1.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). |  |  |  |  | 9.1
1.1.1 | Sal wood | 0.05 | cum | 105327.2 | 5266 | 9.1.2 | SR
1.2 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : |  |  |  |  | 9.62
1.2.1 | 250x16 mm | 1 | each | 170 | 170 | 9.62.2 | SR
1.3 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : |  |  |  |  | 9.63
1.3.1 | 200x10 mm | 1 | each | 60.55 | 61 | 9.63.2 | SR
1.3.2 | 150x10 mm | 1 | each | 52.55 | 53 | 9.63.3 | SR
1.4 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : |  |  |  |  | 9.66
1.4.1 | 125 mm | 2 | each | 34.85 | 70 | 9.66.1 | SR
1.5 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1 | each | 1003.5 | 1004 | 9.83 | SR
1.6 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  |  |  | 9.96
1.6.1 | 250x16 mm | 1 | each | 231.7 | 232 | 9.96.2 | SR
1.7 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  |  |  | 9.97
1.7.1 | 200x10 mm | 4 | each | 90 | 360 | 9.97.3 | SR
1.8 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  |  |  | 9.1
1.8.1 | 125 mm | 4 | each | 59.65 | 239 | 9.100.1 | SR
1.9 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. |  |  |  |  | 9.101
1.9.1 | Twin rubber stopper | 1 | each | 62.05 | 62 | 9.101.2 | SR
1.1 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge |  |  |  |  | 9.117
1.10.1 | Extruded section profile size 48x40 mm | 5 | metre | 221.65 | 1108 | 9.117.1 | SR
1.11 | Providing and fixing to existing door frames. |  |  |  |  | 9.118
1.11.1 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 1.5 | sqm | 1760.7 | 2641 | 9.118.1 | SR
1.12 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : |  |  |  |  | 9.134
1.12.1 | 35 mm thick shutters |  |  |  |  | 9.134.1
1.12.1.1 | with ISI marked M.S. pressed butt hinges bright finished of required size |  |  |  |  | 9.134.1.1
1.12.1.1.1 | Second class teak wood | 2 | sqm | 4352.2 | 8704 | 9.134.1.1.1 | SR
| Sub-Total |  |  |  | 19970
2 | STEEL WORK |  |  |  |  | 10
2.1 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. |  |  |  |  | 10.13
2.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 25 | kg | 106.45 | 2661 | 10.13.1 | SR
| Sub-Total |  |  |  | 2661
3 | FINISHING |  |  |  |  | 13
3.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. |  |  |  |  | 13.42
3.1.1 | Two or more coats on new work | 935 | sqm | 87.15 | 81485 | 13.42.1 | SR
3.2 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  |  |  | 13.62
3.2.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 5 | sqm | 177.15 | 886 | 13.62.1 | SR
3.3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 175 | sqm | 115.15 | 20151 | 13.8 | SR
3.4 | White washing with lime to give an even shade : |  |  |  |  | 13.87
3.4.1 | Old work (two or more coats) | 150 | sqm | 16.75 | 2513 | 13.87.1 | SR
3.5 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 175 | sqm | 18.25 | 3194 | 13.91 | SR
3.6 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  |  |  | 13.99
3.6.1 | One or more coats on old work | 230 | sqm | 79.95 | 18389 | 13.99.1 | SR
3.7 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade |  |  |  |  | 13.112
3.7.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 90 | sqm | 97.75 | 8798 | 13.112.1 | SR
| Sub-Total |  |  |  | 135416
4 | REPAIRS TO BUILDING |  |  |  |  | 14
4.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. |  |  |  |  | 14.1
4.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm | 429.6 | 4296 | 14.1.2 | SR
| Sub-Total |  |  |  | 4296
5 | DISMANTLING AND DEMOLISHING |  |  |  |  | 15
5.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : |  |  |  |  | 15.12
5.1.1 | Of area 3 sq. metres and below | 2 | each | 274.5 | 549 | 15.12.1 | SR
5.2 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : |  |  |  |  | 15.13
5.2.1 | Of area 3 sq. metres and below | 1 | each | 106.55 | 107 | 15.13.1 | SR
| Sub-Total |  |  |  | 656
6 | SANITARY INSTALLATIONS |  |  |  |  | 17
6.1 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | 2 | each | 6113.6 | 12227 | 17.22B | SR
| Sub-Total |  |  |  | 12227
7 | NEW TECHNOLOGIES AND MATERIALS |  |  |  |  | 26
7.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. |  |  |  |  | 26.31
7.1.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 1.5 | sqm | 117.3 | 176 | 26.31.1 | SR
7.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. |  |  |  |  | 26.32
7.2.1 | 25 mm average thickness in 2 layers. | 1.5 | sqm | 471 | 707 | 26.32.2 | SR
| Sub-Total |  |  |  | 883
8 | MINOR CIVIL MAINTENANCE WORK: |  |  |  |  | 50
8.1 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 1.75 | Sqm | 2218.65 | 3883 | 50.1 | MR
8.2 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | 1 | Each | 1284 | 1284 | 50.31 | MR
| Sub-Total |  |  |  | 5167
| Total |  |  |  | 181276
| Add Contingencies @3% on 181,276.00 |  |  |  | 5438.28
| Grand Total |  |  |  | 186714.28
| Say |  |  |  | 186714

## BOQ
Schedule of Qty
N/W | Replacement of damaged door of bathroom & terrace door House No.- I-6 SBRA, providing & fixing wire mesh door at entrance of house no. B-103, F/A i/c internal white washing & painting of house no. Y-5, I-6 & Z-1 SBRA and B-103, F/A
SLNo | Description | Qty | Unit | Rate without GST | Amount without GST
1 | WOOD AND PVC WORK
1.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
1.1.1 | Sal wood | 0.05 | cum | 92351.78 | 4617.589
1.2 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
1.2.1 | 250x16 mm | 1 | each | 149.06 | 149.06
1.3 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
1.3.1 | 200x10 mm | 1 | each | 53.09 | 53.09
1.3.2 | 150x10 mm | 1 | each | 46.08 | 46.08
1.4 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
1.4.1 | 125 mm | 2 | each | 30.56 | 61.12
1.5 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1 | each | 879.88 | 879.88
1.6 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
1.6.1 | 250x16 mm | 1 | each | 203.16 | 203.16
1.7 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
1.7.1 | 200x10 mm | 4 | each | 78.91 | 315.64
1.8 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
1.8.1 | 125 mm | 4 | each | 52.3 | 209.2
1.9 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
1.9.1 | Twin rubber stopper | 1 | each | 54.41 | 54.41
1.1 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
1.10.1 | Extruded section profile size 48x40 mm | 5 | metre | 194.34 | 971.7
1.11 | Providing and fixing to existing door frames.
1.11.1 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 1.5 | sqm | 1543.8 | 2315.7
1.12 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws :
1.12.1 | 35 mm thick shutters
1.12.1.1 | with ISI marked M.S. pressed butt hinges bright finished of required size
1.12.1.1.1 | Second class teak wood | 2 | sqm | 3816.05 | 7632.1
Sub-Total
2 | STEEL WORK
2.1 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.
2.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 25 | kg | 93.34 | 2333.5
Sub-Total
3 | FINISHING
3.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
3.1.1 | Two or more coats on new work | 935 | sqm | 76.41 | 71443.35
3.2 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
3.2.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 5 | sqm | 155.33 | 776.65
3.3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 175 | sqm | 100.96 | 17668
3.4 | White washing with lime to give an even shade :
3.4.1 | Old work (two or more coats) | 150 | sqm | 14.69 | 2203.5
3.5 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 175 | sqm | 16 | 2800
3.6 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
3.6.1 | One or more coats on old work | 230 | sqm | 70.1 | 16123
3.7 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
3.7.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 90 | sqm | 85.71 | 7713.9
Sub-Total
4 | REPAIRS TO BUILDING
4.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
4.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm | 376.68 | 3766.8
Sub-Total
5 | DISMANTLING AND DEMOLISHING
5.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
5.1.1 | Of area 3 sq. metres and below | 2 | each | 240.68 | 481.36
5.2 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
5.2.1 | Of area 3 sq. metres and below | 1 | each | 93.42 | 93.42
Sub-Total
6 | SANITARY INSTALLATIONS
6.1 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | 2 | each | 5360.46 | 10720.92
Sub-Total
7 | NEW TECHNOLOGIES AND MATERIALS
7.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
7.1.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 1.5 | sqm | 102.85 | 154.275
7.2 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
7.2.1 | 25 mm average thickness in 2 layers. | 1.5 | sqm | 412.98 | 619.47
Sub-Total
8 | MINOR CIVIL MAINTENANCE WORK:
8.1 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | 1.75 | Sqm | 1945.33 | 3404.3275
8.2 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | 1 | Each | 1125.82 | 1125.82
| Total |  |  |  | 158937.0215