## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Providing staircase to roof railing including water proofing along with internal and external painting of house no.435
Contract No: 07/C/D3/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.02 | All kinds of soil. |  | 1.25 | cum | 221.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 276.53 | 276.53 | INR Two Hundred & Seventy Six and Paise Fifty Three Only | 1.02 | All kinds of soil. | 1.25 | cum
1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.04 | All kinds of soil | [53 empty] | 1.04 | All kinds of soil
1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 5 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1596.65 | 1596.65 | INR One Thousand Five Hundred & Ninety Six and Paise Sixty Five Only | 1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 5 | metre
2 | CONCRETE WORK | [53 empty] | 2 | CONCRETE WORK
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1.2 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7142.76 | 7142.76 | INR Seven Thousand One Hundred & Forty Two and Paise Seventy Six Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.2 | cum
2.03 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | [53 empty] | 2.03 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing :
2.04 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 1 | cum | 7500.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7500.66 | 7500.66 | INR Seven Thousand Five Hundred and Paise Sixty Six Only | 2.04 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1 | cum
2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 5 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only | 2.05 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 5 | sqm
3 | REINFORCED CEMENT CONCRETE | [53 empty] | 3 | REINFORCED CEMENT CONCRETE
3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | [53 empty] | 3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.5 | cum | 8159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4079.79 | 4079.79 | INR Four Thousand &Seventy Nine and Paise Seventy Nine Only | 3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.5 | cum
3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 2.2 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18834.16 | 18834.16 | INR Eighteen Thousand Eight Hundred & Thirty Four and Paise Sixteen Only | 3.03 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.2 | cum
3.04 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.04 | Centering and shuttering including strutting, propping etc. and removal of form for
3.05 | Foundations, footings, bases of columns, etc. for mass concrete |  | 1 | sqm | 249.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 249.76 | 249.76 | INR Two Hundred & Forty Nine and Paise Seventy Six Only | 3.05 | Foundations, footings, bases of columns, etc. for mass concrete | 1 | sqm
3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 1.2 | sqm | 534.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 641.09 | 641.09 | INR Six Hundred & Forty One and Paise Nine Only | 3.06 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1.2 | sqm
3.07 | Suspended floors, roofs, landings, balconies and access platform |  | 2 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1215.34 | 1215.34 | INR One Thousand Two Hundred & Fifteen and Paise Thirty Four Only | 3.07 | Suspended floors, roofs, landings, balconies and access platform | 2 | sqm
3.08 | Stairs, (excluding landings) except spiral-staircases |  | 7 | sqm | 545.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3819.76 | 3819.76 | INR Three Thousand Eight Hundred & Nineteen and Paise Seventy Six Only | 3.08 | Stairs, (excluding landings) except spiral-staircases | 7 | sqm
3.09 | Edges of slabs and breaks in floors and walls | [53 empty] | 3.09 | Edges of slabs and breaks in floors and walls
3.1 | Under 20 cm wide |  | 20 | metre | 151.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038.2 | 3038.2 | INR Three Thousand &Thirty Eight and Paise Twenty Only | 3.1 | Under 20 cm wide | 20 | metre
3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 3.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 400 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29284 | 29284 | INR Twenty Nine Thousand Two Hundred & Eighty Four Only | 3.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 400 | kg
3.13 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. |  | 60 | metre | 51.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3098.4 | 3098.4 | INR Three Thousand &Ninety Eight and Paise Forty Only | 3.13 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 60 | metre
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 4.01 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in:
4.02 | Cement Mortar 1:6 (1 cement : 6 coarse sand). |  | 0.3 | cum | 4649.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1394.81 | 1394.81 | INR One Thousand Three Hundred & Ninety Four and Paise Eighty One Only | 4.02 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | 0.3 | cum
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 5 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33276.85 | 33276.85 | INR Thirty Three Thousand Two Hundred & Seventy Six and Paise Eighty Five Only | 4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 5 | cum
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 1.5 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1225.91 | 1225.91 | INR One Thousand Two Hundred & Twenty Five and Paise Ninety One Only | 4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | 1.5 | sqm
4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 5 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 227.95 | 227.95 | INR Two Hundred & Twenty Seven and Paise Ninety Five Only | 4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 5 | metre
5 | WOOD AND PVC WORK | [53 empty] | 5 | WOOD AND PVC WORK
5.01 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). |  | 6 | each | 157.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 942.72 | 942.72 | INR Nine Hundred & Forty Two and Paise Seventy Two Only | 5.01 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 6 | each
5.02 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 5.02 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
5.03 | 250x16 mm |  | 2 | each | 149.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.12 | 298.12 | INR Two Hundred & Ninety Eight and Paise Twelve Only | 5.03 | 250x16 mm | 2 | each
5.04 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 5.04 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
5.05 | 125 mm |  | 2 | each | 30.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61.12 | 61.12 | INR Sixty One and Paise Twelve Only | 5.05 | 125 mm | 2 | each
6 | STEEL WORK | [53 empty] | 6 | STEEL WORK
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 25 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.5 | 2230.5 | INR Two Thousand Two Hundred & Thirty and Paise Fifty Only | 6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 25 | kg
6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
6.03 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 2.1 | sqm | 3882.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8153.54 | 8153.54 | INR Eight Thousand One Hundred & Fifty Three and Paise Fifty Four Only | 6.03 | Using M.S. angels 40x40x6 mm for diagonal braces | 2.1 | sqm
6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 6.04 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 560 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64321.6 | 64321.6 | INR Sixty Four Thousand Three Hundred & Twenty One and Paise Sixty Only | 6.05 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 560 | kg
6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | [53 empty] | 6.06 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.
6.07 | M.S. tube |  | 290 | kg | 127.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37035.9 | 37035.9 | INR Thirty Seven Thousand &Thirty Five and Paise Ninety Only | 6.07 | M.S. tube | 290 | kg
7 | FLOORING | [53 empty] | 7 | FLOORING
7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
7.02 | 40 mm thick with 20 mm nominal size stone aggregate |  | 30 | sqm | 436.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13108.8 | 13108.8 | INR Thirteen Thousand One Hundred & Eight and Paise Eighty Only | 7.02 | 40 mm thick with 20 mm nominal size stone aggregate | 30 | sqm
7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
7.04 | 18 mm thick |  | 2.5 | sqm | 456.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1142.38 | 1142.38 | INR One Thousand One Hundred & Forty Two and Paise Thirty Eight Only | 7.04 | 18 mm thick | 2.5 | sqm
7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | [53 empty] | 7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
7.06 | 40 mm wide and 4 mm thick |  | 30 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1976.7 | 1976.7 | INR One Thousand Nine Hundred & Seventy Six and Paise Seventy Only | 7.06 | 40 mm wide and 4 mm thick | 30 | metre
8 | ROOFING | [53 empty] | 8 | ROOFING
8.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | [53 empty] | 8.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
8.02 | 110 mm diameter |  | 4.5 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1203.62 | 1203.62 | INR One Thousand Two Hundred & Three and Paise Sixty Two Only | 8.02 | 110 mm diameter | 4.5 | metre
9 | FINISHING | [53 empty] | 9 | FINISHING
9.01 | 12 mm cement plaster of mix : | [53 empty] | 9.01 | 12 mm cement plaster of mix :
9.02 | 1:6 (1 cement: 6 coarse sand) |  | 45 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10398.6 | 10398.6 | INR Ten Thousand Three Hundred & Ninety Eight and Paise Sixty Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | 45 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
9.04 | 1:6 (1 cement: 6 coarse sand) |  | 50 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13323 | 13323 | INR Thirteen Thousand Three Hundred & Twenty Three Only | 9.04 | 1:6 (1 cement: 6 coarse sand) | 50 | sqm
9.05 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | [53 empty] | 9.05 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
9.06 | 1:4 (1 cement: 4 fine sand) |  | 45 | sqm | 287.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12951.45 | 12951.45 | INR Twelve Thousand Nine Hundred & Fifty One and Paise Forty Five Only | 9.06 | 1:4 (1 cement: 4 fine sand) | 45 | sqm
9.07 | 6 mm cement plaster of mix : | [53 empty] | 9.07 | 6 mm cement plaster of mix :
9.08 | 1:3 (1 cement : 3 fine sand) |  | 5 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 996.7 | 996.7 | INR Nine Hundred & Ninety Six and Paise Seventy Only | 9.08 | 1:3 (1 cement : 3 fine sand) | 5 | sqm
9.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 9.09 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
9.1 | Two or more coats on new work |  | 100 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7641 | 7641 | INR Seven Thousand Six Hundred & Forty One Only | 9.1 | Two or more coats on new work | 100 | sqm
9.11 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 9.11 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
9.12 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 120 | sqm | 141.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16956 | 16956 | INR Sixteen Thousand Nine Hundred & Fifty Six Only | 9.12 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 120 | sqm
9.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 9.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
9.14 | Two or more coats on new work |  | 70 | sqm | 106.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7460.6 | 7460.6 | INR Seven Thousand Four Hundred & Sixty and Paise Sixty Only | 9.14 | Two or more coats on new work | 70 | sqm
9.15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 100 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10096 | 10096 | INR Ten Thousand &Ninety Six Only | 9.15 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 100 | sqm
9.16 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 9.16 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
9.17 | Old work (one or more coats) |  | 100 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4761 | 4761 | INR Four Thousand Seven Hundred & Sixty One Only | 9.17 | Old work (one or more coats) | 100 | sqm
9.18 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 100 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1600 | 1600 | INR One Thousand Six Hundred Only | 9.18 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 100 | sqm
9.19 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 9.19 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
9.2 | One or more coats on old work |  | 100 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7010 | 7010 | INR Seven Thousand &Ten Only | 9.2 | One or more coats on old work | 100 | sqm
9.21 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 9.21 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.22 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 50 | sqm | 85.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4285.5 | 4285.5 | INR Four Thousand Two Hundred & Eighty Five and Paise Fifty Only | 9.22 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 50 | sqm
10 | REPAIRS TO BUILDING | [53 empty] | 10 | REPAIRS TO BUILDING
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 10 | sqm | 376.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766.8 | 3766.8 | INR Three Thousand Seven Hundred & Sixty Six and Paise Eighty Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm
10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.03 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.04 | Door chowkhats |  | 1 | each | 1198.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1198.47 | 1198.47 | INR One Thousand One Hundred & Ninety Eight and Paise Forty Seven Only | 10.04 | Door chowkhats | 1 | each
11 | DISMANTLING AND DEMOLISHING | [53 empty] | 11 | DISMANTLING AND DEMOLISHING
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 1.3 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1980.43 | 1980.43 | INR One Thousand Nine Hundred & Eighty and Paise Forty Three Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.3 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 3 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2821.92 | 2821.92 | INR Two Thousand Eight Hundred & Twenty One and Paise Ninety Two Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 3 | cum
11.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 11.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
11.05 | In cement mortar |  | 2 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2577.64 | 2577.64 | INR Two Thousand Five Hundred & Seventy Seven and Paise Sixty Four Only | 11.05 | In cement mortar | 2 | cum
11.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 11.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
11.07 | Of area 3 sq. metres and below |  | 1 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 240.68 | 240.68 | INR Two Hundred & Forty and Paise Sixty Eight Only | 11.07 | Of area 3 sq. metres and below | 1 | each
11.08 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 40 | sqm | 34.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1368 | 1368 | INR One Thousand Three Hundred & Sixty Eight Only | 11.08 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 40 | sqm
11.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 7 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 852.18 | 852.18 | INR Eight Hundred & Fifty Two and Paise Eighteen Only | 11.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 7 | cum
12 | SANITARY INSTALLATIONS | [53 empty] | 12 | SANITARY INSTALLATIONS
12.01 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 12.01 | Providing and fixing soil, waste and vent pipes :
12.02 | 100 mm dia | [53 empty] | 12.02 | 100 mm dia
12.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 5 | metre | 957.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4788.25 | 4788.25 | INR Four Thousand Seven Hundred & Eighty Eight and Paise Twenty Five Only | 12.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 5 | metre
12.04 | Providing and fixing collar : | [53 empty] | 12.04 | Providing and fixing collar :
12.05 | 100 mm | [53 empty] | 12.05 | 100 mm
12.06 | Sand cast iron S&S as per IS - 3989 |  | 1 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 359.01 | 359.01 | INR Three Hundred & Fifty Nine and Paise One Only | 12.06 | Sand cast iron S&S as per IS - 3989 | 1 | each
12.07 | 75 mm | [53 empty] | 12.07 | 75 mm
12.08 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 224.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 449.46 | 449.46 | INR Four Hundred & Forty Nine and Paise Forty Six Only | 12.08 | Sand cast iron S&S as per IS - 3989 | 2 | each
12.09 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 12.09 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
12.1 | 100 mm |  | 2 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 844.28 | 844.28 | INR Eight Hundred & Forty Four and Paise Twenty Eight Only | 12.1 | 100 mm | 2 | each
12.11 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 12.11 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
12.12 | 100 mm inlet and 100 mm outlet | [53 empty] | 12.12 | 100 mm inlet and 100 mm outlet
12.13 | Sand cast iron S&S as per IS: 3989 |  | 1 | each | 1326.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1326.22 | 1326.22 | INR One Thousand Three Hundred & Twenty Six and Paise Twenty Two Only | 12.13 | Sand cast iron S&S as per IS: 3989 | 1 | each
13 | WATER SUPPLY | [53 empty] | 13 | WATER SUPPLY
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
13.02 | 15 mm dia nominal bore |  | 5 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1249 | 1249 | INR One Thousand Two Hundred & Forty Nine Only | 13.02 | 15 mm dia nominal bore | 5 | metre
13.03 | 20 mm dia nominal bore |  | 8 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2413.68 | 2413.68 | INR Two Thousand Four Hundred & Thirteen and Paise Sixty Eight Only | 13.03 | 20 mm dia nominal bore | 8 | metre
13.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 13.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
13.05 | 20 mm dia nominal bore |  | 10 | metre | 248.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2488.4 | 2488.4 | INR Two Thousand Four Hundred & Eighty Eight and Paise Forty Only | 13.05 | 20 mm dia nominal bore | 10 | metre
13.06 | 25 mm dia nominal bore |  | 10 | metre | 319.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3196.4 | 3196.4 | INR Three Thousand One Hundred & Ninety Six and Paise Forty Only | 13.06 | 25 mm dia nominal bore | 10 | metre
13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 13.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
13.08 | 20 mm nominal bore |  | 3 | each | 403.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1210.53 | 1210.53 | INR One Thousand Two Hundred & Ten and Paise Fifty Three Only | 13.08 | 20 mm nominal bore | 3 | each
13.09 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 13.09 | Providing and fixing uplasticised PVC connection pipe with brass unions :
13.1 | 45 cm length | [53 empty] | 13.1 | 45 cm length
13.11 | 15 mm nominal bore |  | 6 | each | 72.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 436.68 | 436.68 | INR Four Hundred & Thirty Six and Paise Sixty Eight Only | 13.11 | 15 mm nominal bore | 6 | each
13.12 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 13.12 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
13.13 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 1387.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2775.02 | 2775.02 | INR Two Thousand Seven Hundred & Seventy Five and Paise Two Only | 13.13 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
13.14 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 13.14 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
13.15 | 15 mm diameter pipe |  | 5 | metre | 8.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40.75 | 40.75 | INR Forty and Paise Seventy Five Only | 13.15 | 15 mm diameter pipe | 5 | metre
13.16 | 20 mm diameter pipe |  | 18 | metre | 9.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175.14 | 175.14 | INR One Hundred & Seventy Five and Paise Fourteen Only | 13.16 | 20 mm diameter pipe | 18 | metre
13.17 | 25 mm diameter pipe |  | 10 | metre | 12.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124.1 | 124.1 | INR One Hundred & Twenty Four and Paise Ten Only | 13.17 | 25 mm diameter pipe | 10 | metre
13.18 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | [53 empty] | 13.18 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
13.19 | 20 mm diameter pipe |  | 10 | metre | 126.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1267.4 | 1267.4 | INR One Thousand Two Hundred & Sixty Seven and Paise Forty Only | 13.19 | 20 mm diameter pipe | 10 | metre
13.2 | 25 mm diameter pipe |  | 10 | metre | 130.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1301.2 | 1301.2 | INR One Thousand Three Hundred & One and Paise Twenty Only | 13.2 | 25 mm diameter pipe | 10 | metre
13.21 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 13.21 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
13.22 | 15 mm nominal bore |  | 2 | each | 206.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413.42 | 413.42 | INR Four Hundred & Thirteen and Paise Forty Two Only | 13.22 | 15 mm nominal bore | 2 | each
13.23 | 20 mm nominal bore |  | 5 | each | 228.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1144.9 | 1144.9 | INR One Thousand One Hundred & Forty Four and Paise Ninety Only | 13.23 | 20 mm nominal bore | 5 | each
13.24 | 25 mm nominal bore |  | 2 | each | 298.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 596.4 | 596.4 | INR Five Hundred & Ninety Six and Paise Forty Only | 13.24 | 25 mm nominal bore | 2 | each
13.25 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 13.25 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
13.26 | 15 mm nominal bore |  | 2 | each | 484.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 968.62 | 968.62 | INR Nine Hundred & Sixty Eight and Paise Sixty Two Only | 13.26 | 15 mm nominal bore | 2 | each
13.27 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 2 | each | 53.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107.4 | 107.4 | INR One Hundred & Seven and Paise Forty Only | 13.27 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 2 | each
14 | DRAINAGE | [53 empty] | 14 | DRAINAGE
14.01 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 14.01 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
14.02 | 100x100 mm size P type | [53 empty] | 14.02 | 100x100 mm size P type
14.03 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 2022.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2022.8 | 2022.8 | INR Two Thousand &Twenty Two and Paise Eighty Only | 14.03 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each
14.04 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 14.04 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
14.05 | For pipes 100 to 250 mm diameter |  | 1 | each | 546.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 546.69 | 546.69 | INR Five Hundred & Forty Six and Paise Sixty Nine Only | 14.05 | For pipes 100 to 250 mm diameter | 1 | each
15 | WATER PROOFING | [53 empty] | 15 | WATER PROOFING
15.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 180 | sqm | 364.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65601 | 65601 | INR Sixty Five Thousand Six Hundred & One Only | 15.01 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 180 | sqm
16 | CONSERVATION OF HERITAGE BUILDINGS. | [53 empty] | 16 | CONSERVATION OF HERITAGE BUILDINGS.
16.01 | Providing and applying antifungal wash treatment using 3% solution of sodium pentachlorophenate, of reputed brand and manufacturer, on cleaned sand stone surface at desired locations as per direction of Engineer-in-charge (The rate is inclusive of all materials & labours involved except scaffolding). |  | 20 | sqm | 51.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1035.6 | 1035.6 | INR One Thousand &Thirty Five and Paise Sixty Only | 16.01 | Providing and applying antifungal wash treatment using 3% solution of sodium pentachlorophenate, of reputed brand and manufacturer, on cleaned sand stone surface at desired locations as per direction of Engineer-in-charge (The rate is inclusive of all materials & labours involved except scaffolding). | 20 | sqm
17 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 17 | NEW TECHNOLOGIES AND MATERIALS
17.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 17.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
17.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 1.5 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 510.96 | 510.96 | INR Five Hundred & Ten and Paise Ninety Six Only | 17.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 1.5 | sqm
18 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 18 | MINOR CIVIL MAINTENANCE WORK:
18.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 3.5 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17297.14 | 17297.14 | INR Seventeen Thousand Two Hundred & Ninety Seven and Paise Fourteen Only | 18.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 3.5 | Cum
18.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 1 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58.66 | 58.66 | INR Fifty Eight and Paise Sixty Six Only | 18.02 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 1 | Each
Total in Figures | [51 empty] | 477104.7 | 477104.7 | INR Four Lakh Seventy Seven Thousand One Hundred & Four and Paise Seventy Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information