## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 19/Civil/D2/2020-21/01
Name of Work:-Civil work for renovation of SL-102.
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures in Rupees | Amount
1 | CARRIAGE OF MATERIALS
1.1 | By Mechanical Transport including loading,unloading and stacking
1.1.1 | Earth Lead - 3 km | 18.5 | cum | 146.86 | 2717
2 | EARTH WORK
2.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
2.1.1 | All kinds of soil. | 28.5 | cum | 221.21 | 6304
2.2 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 10 | cum | 192.59 | 1926
2.3 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 1.05 | cum | 1712.45 | 1798
3 | CONCRETE WORK
3.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.1.1 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 3.75 | cum | 5076.37 | 19036
4 | REINFORCED CEMENT CONCRETE
4.1 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, ifnishing and reinforcement- All work up to plinth level :
4.1.1 | 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 7.5 | cum | 6767.42 | 50756
4.2 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
4.2.1 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.2 | cum | 8159.57 | 1632
4.3 | Centering and shuttering including strutting, propping etc. and removal of form for
4.3.1 | Foundations, footings, bases of columns, etc. for mass concrete | 5.1 | sqm | 249.75 | 1274
4.3.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 22 | sqm | 534.23 | 11753
4.3.3 | Shelves (Cast in situ) | 1.8 | sqm | 607.67 | 1094
4.3.4 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 0.7 | sqm | 484.04 | 339
4.4 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
4.4.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 880 | kg | 73.21 | 64425
4.5 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
4.5.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 24 | kg | 73.21 | 1757
5 | MASONRY WORK
5.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
5.1.1 | cement mortar 1:4 (1 cement : 4 coarse sand) | 30 | sqm | 678.43 | 20353
5.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
5.2.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 13 | sqm | 817.27 | 10625
6 | CLADDING WORK
6.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
6.1.1 | Granite of any colour and shade
6.1.1.1 | Area of slab over 0.50 sqm | 1.58 | sqm | 3513.94 | 5552
6.2 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 3.06 | sqm | 903.37 | 2764
7 | WOOD AND PVC WORK
7.1 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
7.1.1 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.31 | sqm | 1654.27 | 3821
7.2 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | 2.31 | sqm | 82.11 | 190
7.3 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 1 | each | 879.87 | 880
7.4 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
7.4.1 | 250x16 mm | 1 | each | 203.15 | 203
7.5 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
7.5.1 | 250x10 mm | 4 | each | 90.79 | 363
7.6 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
7.6.1 | 125 mm | 8 | each | 52.3 | 418
7.7 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
7.7.1 | Twin rubber stopper | 4 | each | 54.4 | 218
7.8 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | 4 | each | 12.97 | 52
8 | STEEL WORK
8.1 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.
8.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 31 | kg | 93.33 | 2893
9 | FLOORING
9.1 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.
9.1.1 | Size of Tile 600x600 mm | 39 | sqm | 1315.69 | 51312
9.2 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
9.2.1 | Size of Tile 600x600 mm | 3.6 | sqm | 1355.41 | 4879
9.3 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing , curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge.
9.3.1 | Polished Granite stone slab jet Black, Cherry Red, Elite Brown, Cat Eye or equivalent. | 7.75 | sqm | 3092.15 | 23964
10 | ROOFING
10.1 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
10.1.1 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 46 | sqm | 1649.23 | 75865
10.2 | Providing and fixing thermal insulation with Resin Bonded Fibre glass wool conforming to IS: 8183 having density 24 kg/m3, 50 mm thick, wrapped in 200G Virgin Polythene Bags fixed to wall with screw, rawel plug & washers and held in position by criss crossing GI wire etc. complete as per directions of Engineer-in-Charge. | 22 | sqm | 277.42 | 6103
11 | FINISHING
11.1 | 12 mm cement plaster of mix :
11.1.1 | 1:6 (1 cement: 6 coarse sand) | 12 | sqm | 231.08 | 2773
11.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
11.2.1 | 1:6 (1 cement: 6 coarse sand) | 38 | sqm | 266.46 | 10125
11.3 | 6 mm cement plaster of mix :
11.3.1 | 1:3 (1 cement : 3 fine sand) | 1.6 | sqm | 199.34 | 319
11.4 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturers. | 2 | per bag of 50kg cement used in the mix | 52.38 | 105
11.5 | Finishing walls with Acrylic Smooth exterior paint of required shade :
11.5.1 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 11.5 | sqm | 144.41 | 1661
11.6 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :
11.6.1 | Two or more coats on new work | 135 | sqm | 112.8 | 15228
11.7 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 135 | sqm | 100.96 | 13630
11.8 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 168 | sqm | 16 | 2688
11.9 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification.
11.9.1 | One or more coats on old work | 46 | sqm | 42.13 | 1938
12 | REPAIRS TO BUILDING
12.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
12.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 4 | sqm | 376.67 | 1507
12.2 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | 3 | each | 193.24 | 580
13 | DISMANTLING AND DEMOLISHING
13.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
13.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 2.41 | cum | 1523.41 | 3671
13.1.2 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 4.28 | cum | 940.64 | 4026
13.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
13.2.1 | Of area 3 sq. metres and below | 13 | each | 240.68 | 3129
13.3 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 46 | sqm | 36.82 | 1694
13.4 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 31.26 | sqm | 34.19 | 1069
13.5 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 10 | cum | 121.74 | 1217
14 | SANITARY INSTALLATIONS
14.1 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required :
14.1.1 | Size 600x450x200 mm | 1 | each | 4787.76 | 4788
14.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
14.2.1 | Flexible pipe
14.2.1.1 | 32 mm dia | 1 | each | 88.64 | 89
15 | WATER SUPPLY
15.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
15.1.1 | 15 mm dia nominal bore | 2 | metre | 249.8 | 500
15.1.2 | 20 mm dia nominal bore | 10 | metre | 301.7 | 3017
15.2 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
15.2.1 | 25 to 40 mm nominal bore | 1 | each | 590.48 | 590
15.3 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
15.3.1 | 20 mm nominal bore | 1 | each | 403.5 | 404
16 | ALUMINIUM WORK
16.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
16.1.1 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
16.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 30 | kg | 450.15 | 13505
16.2 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.
16.2.1 | Pre-laminated particle board with decorative lamination on both sides | 2 | sqm | 917.93 | 1836
16.3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
16.3.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2 | sqm | 1136.69 | 2273
16.4 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 2 | each | 402.06 | 804
17 | MINOR CIVIL MAINTENANCE WORK:
17.1 | Providing & laying Silicon sealent (GE, DOW CORNING or equivalent) to expansion joint (upto 50 mm wide & 20 mm deep) including providing & fixing backer rod & masking tape as per the manufacturer's specifications or as directed by the Engineer-in-charge complete. | 22.4 | Rmt | 1323.8 | 29653
| Total Estimated cost without GST put to tender |  |  |  | 498085