## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Replacement of damage duct C.I pipe of BL-11 toilet /bath at Hall-8
Contract No: 37/C/D1/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.01 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.02 | All kinds of soil | [53 empty] | 1.02 | All kinds of soil
1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 10.5 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3352.97 | 3352.97 | INR Three Thousand Three Hundred & Fifty Two and Paise Ninety Seven Only | 1.03 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 10.5 | metre
2 | CONCRETE WORK | [53 empty] | 2 | CONCRETE WORK
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) including manufactured sand derived from Recycled concrete aggregate (RCA) upto 25% : 4 graded stone aggregate 20 mm nominal size including Recycled concrete aggregate (RCA) upto 25%) |  | 0.43 | cum | 5794.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2491.68 | 2491.68 | INR Two Thousand Four Hundred & Ninety One and Paise Sixty Eight Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) including manufactured sand derived from Recycled concrete aggregate (RCA) upto 25% : 4 graded stone aggregate 20 mm nominal size including Recycled concrete aggregate (RCA) upto 25%) | 0.43 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 5.48 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2950.43 | 2950.43 | INR Two Thousand Nine Hundred & Fifty and Paise Forty Three Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 5.48 | sqm
3 | MASONRY WORK | [53 empty] | 3 | MASONRY WORK
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 0.44 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2375.52 | 2375.52 | INR Two Thousand Three Hundred & Seventy Five and Paise Fifty Two Only | 3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 0.44 | cum
3.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 7.25 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 330.53 | 330.53 | INR Three Hundred & Thirty and Paise Fifty Three Only | 3.03 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 7.25 | metre
4 | DISMANTLING AND DEMOLISHING | [53 empty] | 4 | DISMANTLING AND DEMOLISHING
4.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 4.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
4.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 0.95 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1447.24 | 1447.24 | INR One Thousand Four Hundred & Forty Seven and Paise Twenty Four Only | 4.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.95 | cum
4.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.15 | cum | 2222.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 333.37 | 333.37 | INR Three Hundred & Thirty Three and Paise Thirty Seven Only | 4.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 0.15 | cum
4.04 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | [53 empty] | 4.04 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge :
4.05 | 15 mm to 40 mm nominal bore |  | 72 | metre | 94.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6827.76 | 6827.76 | INR Six Thousand Eight Hundred & Twenty Seven and Paise Seventy Six Only | 4.05 | 15 mm to 40 mm nominal bore | 72 | metre
4.06 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 1.1 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133.91 | 133.91 | INR One Hundred & Thirty Three and Paise Ninety One Only | 4.06 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 1.1 | cum
5 | SANITARY INSTALLATIONS | [53 empty] | 5 | SANITARY INSTALLATIONS
5.01 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 5.01 | Providing and fixing soil, waste and vent pipes :
5.02 | 100 mm dia | [53 empty] | 5.02 | 100 mm dia
5.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 65.4 | metre | 957.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62630.31 | 62630.31 | INR Sixty Two Thousand Six Hundred & Thirty and Paise Thirty One Only | 5.03 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 65.4 | metre
5.04 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : | [53 empty] | 5.04 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :
5.05 | For 100 mm dia pipe |  | 20 | each | 252.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5040.8 | 5040.8 | INR Five Thousand &Forty and Paise Eighty Only | 5.05 | For 100 mm dia pipe | 20 | each
5.06 | Providing and fixing plain bend of required degree. | [53 empty] | 5.06 | Providing and fixing plain bend of required degree.
5.07 | 100 mm dia | [53 empty] | 5.07 | 100 mm dia
5.08 | Sand cast iron S&S as per IS : 3989 |  | 5 | each | 342.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1713.05 | 1713.05 | INR One Thousand Seven Hundred & Thirteen and Paise Five Only | 5.08 | Sand cast iron S&S as per IS : 3989 | 5 | each
5.09 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 5.09 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
5.1 | 100x100x100 mm | [53 empty] | 5.1 | 100x100x100 mm
5.11 | Sand cast iron S&S as per IS - 3989 |  | 8 | each | 633.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5068.32 | 5068.32 | INR Five Thousand &Sixty Eight and Paise Thirty Two Only | 5.11 | Sand cast iron S&S as per IS - 3989 | 8 | each
5.12 | Providing and fixing single unequal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : | [53 empty] | 5.12 | Providing and fixing single unequal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete :
5.13 | 100x100x75 mm | [53 empty] | 5.13 | 100x100x75 mm
5.14 | Sand cast iron S&S as per IS - 3989 |  | 2 | each | 803.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1607.28 | 1607.28 | INR One Thousand Six Hundred & Seven and Paise Twenty Eight Only | 5.14 | Sand cast iron S&S as per IS - 3989 | 2 | each
5.15 | Providing and fixing terminal guard : | [53 empty] | 5.15 | Providing and fixing terminal guard :
5.16 | 100 mm | [53 empty] | 5.16 | 100 mm
5.17 | Sand cast iron S&S as per IS - 3989 |  | 5 | each | 341.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1707.15 | 1707.15 | INR One Thousand Seven Hundred & Seven and Paise Fifteen Only | 5.17 | Sand cast iron S&S as per IS - 3989 | 5 | each
5.18 | Providing and fixing collar : | [53 empty] | 5.18 | Providing and fixing collar :
5.19 | 100 mm | [53 empty] | 5.19 | 100 mm
5.2 | Sand cast iron S&S as per IS - 3989 |  | 10 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3590.1 | 3590.1 | INR Three Thousand Five Hundred & Ninety and Paise Ten Only | 5.2 | Sand cast iron S&S as per IS - 3989 | 10 | each
5.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 5.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
5.22 | 100 mm |  | 55 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23217.7 | 23217.7 | INR Twenty Three Thousand Two Hundred & Seventeen and Paise Seventy Only | 5.22 | 100 mm | 55 | each
6 | WATER SUPPLY | [53 empty] | 6 | WATER SUPPLY
6.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 6.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
6.02 | 20 mm dia nominal bore |  | 2 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 603.42 | 603.42 | INR Six Hundred & Three and Paise Forty Two Only | 6.02 | 20 mm dia nominal bore | 2 | metre
6.03 | 25 mm dia nominal bore |  | 40 | metre | 384.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15361.6 | 15361.6 | INR Fifteen Thousand Three Hundred & Sixty One and Paise Sixty Only | 6.03 | 25 mm dia nominal bore | 40 | metre
6.04 | 32 mm dia nominal bore |  | 14.5 | metre | 464.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6734.53 | 6734.53 | INR Six Thousand Seven Hundred & Thirty Four and Paise Fifty Three Only | 6.04 | 32 mm dia nominal bore | 14.5 | metre
6.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 6.05 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
6.06 | 25 mm dia nominal bore |  | 18 | metre | 319.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5753.52 | 5753.52 | INR Five Thousand Seven Hundred & Fifty Three and Paise Fifty Two Only | 6.06 | 25 mm dia nominal bore | 18 | metre
6.07 | 32 mm dia nominal bore |  | 6 | metre | 372.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2234.28 | 2234.28 | INR Two Thousand Two Hundred & Thirty Four and Paise Twenty Eight Only | 6.07 | 32 mm dia nominal bore | 6 | metre
6.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 6.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
6.09 | 25 to 40 mm nominal bore |  | 1 | each | 590.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590.49 | 590.49 | INR Five Hundred & Ninety and Paise Forty Nine Only | 6.09 | 25 to 40 mm nominal bore | 1 | each
6.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 6.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
6.11 | 25 mm nominal bore |  | 4 | each | 435.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1743.64 | 1743.64 | INR One Thousand Seven Hundred & Forty Three and Paise Sixty Four Only | 6.11 | 25 mm nominal bore | 4 | each
6.12 | 32 mm nominal bore. |  | 2 | each | 509.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1019.28 | 1019.28 | INR One Thousand &Nineteen and Paise Twenty Eight Only | 6.12 | 32 mm nominal bore. | 2 | each
6.13 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | [53 empty] | 6.13 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
6.14 | 25 mm nominal bore |  | 1 | each | 345.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 345.46 | 345.46 | INR Three Hundred & Forty Five and Paise Forty Six Only | 6.14 | 25 mm nominal bore | 1 | each
6.15 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 6.15 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
6.16 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 3 | each | 1387.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4162.53 | 4162.53 | INR Four Thousand One Hundred & Sixty Two and Paise Fifty Three Only | 6.16 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 3 | each
6.17 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 6.17 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
6.18 | 20 mm nominal bore |  | 1 | each | 228.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228.98 | 228.98 | INR Two Hundred & Twenty Eight and Paise Ninety Eight Only | 6.18 | 20 mm nominal bore | 1 | each
6.19 | 25 mm nominal bore |  | 12 | each | 298.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3578.4 | 3578.4 | INR Three Thousand Five Hundred & Seventy Eight and Paise Forty Only | 6.19 | 25 mm nominal bore | 12 | each
6.2 | 32 mm nominal bore |  | 3 | each | 336.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1010.73 | 1010.73 | INR One Thousand &Ten and Paise Seventy Three Only | 6.2 | 32 mm nominal bore | 3 | each
6.21 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 6.21 | Cutting holes up to 30x30 cm in walls including making good the same:
6.22 | With common burnt clay F.P.S. (non modular) bricks |  | 4 | each | 286.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1147.76 | 1147.76 | INR One Thousand One Hundred & Forty Seven and Paise Seventy Six Only | 6.22 | With common burnt clay F.P.S. (non modular) bricks | 4 | each
6.23 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. |  | 4 | each | 302.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1208.6 | 1208.6 | INR One Thousand Two Hundred & Eight and Paise Sixty Only | 6.23 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | 4 | each
7 | DRAINAGE | [53 empty] | 7 | DRAINAGE
7.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 7.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
7.02 | 100 mm diameter |  | 2 | metre | 277.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 555.98 | 555.98 | INR Five Hundred & Fifty Five and Paise Ninety Eight Only | 7.02 | 100 mm diameter | 2 | metre
7.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 7.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
7.04 | 100 mm diameter S.W. pipe |  | 2 | metre | 716.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1432.7 | 1432.7 | INR One Thousand Four Hundred & Thirty Two and Paise Seventy Only | 7.04 | 100 mm diameter S.W. pipe | 2 | metre
7.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 7.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
7.06 | 100x100 mm size P type | [53 empty] | 7.06 | 100x100 mm size P type
7.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 2 | each | 2022.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4045.6 | 4045.6 | INR Four Thousand &Forty Five and Paise Sixty Only | 7.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2 | each
8 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 8 | NEW TECHNOLOGIES AND MATERIALS
8.01 | Providing and laying SBR Polymer modified (of approved make @ minimum 2% by wt. of cement used) plain/reinforced concrete jacket for the structural members e.g. columns, pillars, piers, beams etc with concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness all-round existing core of RCC member. | [53 empty] | 8.01 | Providing and laying SBR Polymer modified (of approved make @ minimum 2% by wt. of cement used) plain/reinforced concrete jacket for the structural members e.g. columns, pillars, piers, beams etc with concrete having the specified minimum characteristic compressive strength [with ordinary portland cement, coarse sand and graded stone aggregate of 10mm maximum size in proportion as per design criteria] with specified average thickness all-round existing core of RCC member.
8.02 | 50mm thick in Grade M 25 with cement content not less than 330 kg per cum |  | 3 | sqm | 473.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1420.17 | 1420.17 | INR One Thousand Four Hundred & Twenty and Paise Seventeen Only | 8.02 | 50mm thick in Grade M 25 with cement content not less than 330 kg per cum | 3 | sqm
9 | MINOR CIVIL MAINTENANCE WORK. | [53 empty] | 9 | MINOR CIVIL MAINTENANCE WORK.
9.01 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. |  | 65 | Mtr | 8.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 570.05 | 570.05 | INR Five Hundred & Seventy and Paise Five Only | 9.01 | Dismantling of C.I pipe with fittings and clamps i/c disposal of unserviceable material up to 50 mtr. lead and upto 150 mm dia. pipe. | 65 | Mtr
Total in Figures | [51 empty] | 178565.84 | 178565.84 | INR One Lakh Seventy Eight Thousand Five Hundred & Sixty Five and Paise Eighty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information