## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer
Name of Work: Constrution of new lab between lab13 & lab14 in BSBE (SH: Electrical Works)
Contract No: 108 /IWD/ED/850 Dated: 21.03.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Group C | item2 | 14 | Point | 1063.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14889.98 | 14889.98 | INR Fourteen Thousand Eight Hundred & Eighty Nine and Paise Ninety Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item3 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | 3 x 1.5 sq. mm | item4 | 60 | Metre | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2841 | 2841 | INR Two Thousand Eight Hundred & Forty One Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.2 | 3 x 4 sq. mm | item5 | 378 | Metre | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38779.02 | 38779.02 | INR Thirty Eight Thousand Seven Hundred & Seventy Nine and Paise Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 3 x 10 sq.mm. | item6 | 10 | Meter | 390.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3901.8 | 3901.8 | INR Three Thousand Nine Hundred & One and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.4 | 6 x 16 sq.mm. | item7 | 40 | Meter | 1159.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46365.6 | 46365.6 | INR Forty Six Thousand Three Hundred & Sixty Five and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item8 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | 32 mm | item9 | 50 | Metre | 177.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8899.5 | 8899.5 | INR Eight Thousand Eight Hundred & Ninety Nine and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item10 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.1 | 16 way, Double door | item11 | 1 | No. | 2150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2150.81 | 2150.81 | INR Two Thousand One Hundred & Fifty and Paise Eighty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item12 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.1 | 12 way (4 + 36), Double door | item13 | 1 | No. | 8617.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8617.26 | 8617.26 | INR Eight Thousand Six Hundred & Seventeen and Paise Twenty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item14 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.1 | Single pole 5 A to 32 A | item15 | 42 | No. | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7328.16 | 7328.16 | INR Seven Thousand Three Hundred & Twenty Eight and Paise Sixteen Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.2 | Triple pole 5 A to 32 A | item16 | 2 | No. | 724.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1448.48 | 1448.48 | INR One Thousand Four Hundred & Forty Eight and Paise Forty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.3 | Double Pole (40A-63A) | item17 | 1 | Nos. | 1277.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1277.51 | 1277.51 | INR One Thousand Two Hundred & Seventy Seven and Paise Fifty One Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.4 | Four Pole (40A-63A) | item18 | 1 | Nos. | 2440.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2440.16 | 2440.16 | INR Two Thousand Four Hundred & Forty and Paise Sixteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item19 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.1 | 6 /10/16 Sq.mm. | item20 | 18 | Nos. | 26.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 473.4 | 473.4 | INR Four Hundred & Seventy Three and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required | item21 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.1 | 20 mm | item22 | 5 | Meter | 42.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214.8 | 214.8 | INR Two Hundred & Fourteen and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.2 | 25 mm | item23 | 10 | Meter | 57.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 578.7 | 578.7 | INR Five Hundred & Seventy Eight and Paise Seventy Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.3 | 32 mm | item24 | 15 | Meter | 75.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1131.15 | 1131.15 | INR One Thousand One Hundred & Thirty One and Paise Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item25 | 15 | Meter | 184.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2761.95 | 2761.95 | INR Two Thousand Seven Hundred & Sixty One and Paise Ninety Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item26 | 45 | Meter | 798.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35944.65 | 35944.65 | INR Thirty Five Thousand Nine Hundred & Forty Four and Paise Sixty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item27 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.1 | 85 mm flexible cover | item28 | 40 | Meter | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14099.2 | 14099.2 | INR Fourteen Thousand &Ninety Nine and Paise Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.2 | End cap | item29 | 8 | Nos. | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1269.6 | 1269.6 | INR One Thousand Two Hundred & Sixty Nine and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.3 | Internal angles- adjustable from 80°-100° | item30 | 11 | Nos. | 435.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4793.47 | 4793.47 | INR Four Thousand Seven Hundred & Ninety Three and Paise Forty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.4 | external angles- adjustable from 60°-120° | item31 | 8 | Nos. | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3570.4 | 3570.4 | INR Three Thousand Five Hundred & Seventy and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.5 | flat junction | item32 | 1 | Nos. | 752.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 752.3 | 752.3 | INR Seven Hundred & Fifty Two and Paise Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.6 | flat angles | item33 | 3 | Nos. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1833.42 | 1833.42 | INR One Thousand Eight Hundred & Thirty Three and Paise Forty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.7 | separation partitions | item34 | 24 | Meter | 211.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5071.44 | 5071.44 | INR Five Thousand &Seventy One and Paise Forty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.8 | Joints for 85mm width cover | item35 | 10 | Nos. | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.9 | base joints | item36 | 44 | Nos. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3279.32 | 3279.32 | INR Three Thousand Two Hundred & Seventy Nine and Paise Thirty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item37 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.1 | 6 module | item38 | 28 | Nos. | 326.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9132.76 | 9132.76 | INR Nine Thousand One Hundred & Thirty Two and Paise Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item39 | 500 | Meter | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8330 | 8330 | INR Eight Thousand Three Hundred & Thirty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item40 | 18 | Nos. | 69.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1246.86 | 1246.86 | INR One Thousand Two Hundred & Forty Six and Paise Eighty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffusser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item41 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.1 | 36 watt recess mounting LED light fixture 600 x 600 mm | item42 | 12 | Nos. | 3949.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47389.8 | 47389.8 | INR Forty Seven Thousand Three Hundred & Eighty Nine and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Supply Installation, testing and commissioning of following ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable etc. as required. | item43 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.1 | 1200mm sweep. | item44 | 6 | Nos. | 2797.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16787.4 | 16787.4 | INR Sixteen Thousand Seven Hundred & Eighty Seven and Paise Forty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supplying and fixing following modular switch/ socket on the existing Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item45 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.1 | 5/6 amps switch | item46 | 36 | Nos. | 215.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7764.84 | 7764.84 | INR Seven Thousand Seven Hundred & Sixty Four and Paise Eighty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.2 | 15/20 amps switch | item47 | 24 | Nos. | 373.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8964.24 | 8964.24 | INR Eight Thousand Nine Hundred & Sixty Four and Paise Twenty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.3 | 5/6 amps soket | item48 | 36 | Nos. | 371.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13383.72 | 13383.72 | INR Thirteen Thousand Three Hundred & Eighty Three and Paise Seventy Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.4 | 6/16 amps soket | item49 | 24 | Nos. | 477.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11467.68 | 11467.68 | INR Eleven Thousand Four Hundred & Sixty Seven and Paise Sixty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Supplying and fixing connecting and commissioning following rating, three pole, 35kA MCCB with microprocessor based LS-I release in the existing DB/ Box as required complete. | item50 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.1 | 160 A | item51 | 2 | Nos. | 20958.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41916.62 | 41916.62 | INR Forty One Thousand Nine Hundred & Sixteen and Paise Sixty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 382912 | 382912 | INR Three Lakh Eighty Two Thousand Nine Hundred & Twelve Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information