## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer (Elect.)
Name of Work: Renovation and modification of electrical work at Old Core Lab 202-D IIT Kanpur.
Contract No: 92/IWD/ED/798 Dated: 25.02.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group C | item2 | 6 | Point | 1063.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6381.42 | 6381.42 | INR Six Thousand Three Hundred & Eighty One and Paise Forty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item3 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Group C | item4 | 20 | Point | 561.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11223.2 | 11223.2 | INR Eleven Thousand Two Hundred & Twenty Three and Paise Twenty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item5 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | 3 x 1.5 sq. mm | item6 | 75 | Metre | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3551.25 | 3551.25 | INR Three Thousand Five Hundred & Fifty One and Paise Twenty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.2 | 3 x 2.5 sq. mm | item7 | 100 | Metre | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6576 | 6576 | INR Six Thousand Five Hundred & Seventy Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.3 | 3 x 4 sq. mm | item8 | 200 | Metre | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20518 | 20518 | INR Twenty Thousand Five Hundred & Eighteen Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.4 | 6 x 6 sq. mm | item9 | 75 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21438 | 21438 | INR Twenty One Thousand Four Hundred & Thirty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.5 | 3 x 10 sq.mm. | item10 | 25 | Meter | 390.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9754.5 | 9754.5 | INR Nine Thousand Seven Hundred & Fifty Four and Paise Fifty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.6 | 2 x 16 sq.mm. | item11 | 30 | Meter | 408.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12257.7 | 12257.7 | INR Twelve Thousand Two Hundred & Fifty Seven and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supply and drawing PVC insulated 3 core round copper conductor cable of following size for connection of equipment / exhaust fan etc as reqd. | item12 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | 2.50 sq. mm | item13 | 50 | Meter | 135.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6795.5 | 6795.5 | INR Six Thousand Seven Hundred & Ninety Five and Paise Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item14 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.1 | 20 mm | item15 | 15 | Metre | 128.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1920.15 | 1920.15 | INR One Thousand Nine Hundred & Twenty and Paise Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.2 | 32 mm | item16 | 30 | Metre | 177.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5339.7 | 5339.7 | INR Five Thousand Three Hundred & Thirty Nine and Paise Seventy Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item17 | 50 | Meter | 184.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9206.5 | 9206.5 | INR Nine Thousand Two Hundred & Six and Paise Fifty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item18 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.1 | End cap | item19 | 2 | Nos. | 121.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 243.76 | 243.76 | INR Two Hundred & Forty Three and Paise Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.2 | internal / external angle | item20 | 4 | Nos. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 466.48 | 466.48 | INR Four Hundred & Sixty Six and Paise Forty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7.3 | changeable flat angle | item21 | 4 | Nos. | 100.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 403.32 | 403.32 | INR Four Hundred & Three and Paise Thirty Two Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.4 | flat junction | item22 | 1 | Nos. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114.86 | 114.86 | INR One Hundred & Fourteen and Paise Eighty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item23 | 50 | Meter | 798.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39938.5 | 39938.5 | INR Thirty Nine Thousand Nine Hundred & Thirty Eight and Paise Fifty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item24 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.1 | 85 mm flexible cover | item25 | 50 | Meter | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17624 | 17624 | INR Seventeen Thousand Six Hundred & Twenty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.2 | End cap | item26 | 2 | Nos. | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 317.4 | 317.4 | INR Three Hundred & Seventeen and Paise Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.3 | Internal angles- adjustable from 80°-100° | item27 | 2 | Nos. | 435.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 871.54 | 871.54 | INR Eight Hundred & Seventy One and Paise Fifty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.4 | external angles- adjustable from 60°-120° | item28 | 2 | Nos. | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 892.6 | 892.6 | INR Eight Hundred & Ninety Two and Paise Sixty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.5 | flat junction | item29 | 1 | Nos. | 752.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 752.3 | 752.3 | INR Seven Hundred & Fifty Two and Paise Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.6 | flat angles | item30 | 1 | Nos. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 611.14 | 611.14 | INR Six Hundred & Eleven and Paise Fourteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.7 | separation partitions | item31 | 35 | Meter | 211.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7395.85 | 7395.85 | INR Seven Thousand Three Hundred & Ninety Five and Paise Eighty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.8 | Joints for 85mm width cover | item32 | 10 | Nos. | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9.9 | base joints | item33 | 40 | Nos. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2981.2 | 2981.2 | INR Two Thousand Nine Hundred & Eighty One and Paise Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item34 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.1 | 3 module | item35 | 10 | Nos. | 242 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2420 | 2420 | INR Two Thousand Four Hundred & Twenty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.2 | 6 module | item36 | 57 | Nos. | 326.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18591.69 | 18591.69 | INR Eighteen Thousand Five Hundred & Ninety One and Paise Sixty Nine Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required | item37 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.1 | 20 mm | item38 | 5 | Meter | 42.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 214.8 | 214.8 | INR Two Hundred & Fourteen and Paise Eighty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.2 | 32 mm | item39 | 5 | Meter | 75.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 377.05 | 377.05 | INR Three Hundred & Seventy Seven and Paise Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffusser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item40 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.1 | 1 X 20W Box type LED tube with fitting | item41 | 6 | Nos. | 790.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4745.28 | 4745.28 | INR Four Thousand Seven Hundred & Forty Five and Paise Twenty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.2 | 36 watt recess mounting LED light fixture 600 x 600 mm | item42 | 11 | Nos. | 3949.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43440.65 | 43440.65 | INR Forty Three Thousand Four Hundred & Forty and Paise Sixty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.3 | 36 watt surface mounting LED light fixture 600 x600 mm | item43 | 7 | Nos. | 4704.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32928.56 | 32928.56 | INR Thirty Two Thousand Nine Hundred & Twenty Eight and Paise Fifty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item44 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.1 | 12 way, Double door | item45 | 1 | Nos. | 1800.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1800.09 | 1800.09 | INR One Thousand Eight Hundred and Paise Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item46 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.1 | 12 way (4 + 36), Double door | item47 | 1 | Nos. | 8617.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8617.27 | 8617.27 | INR Eight Thousand Six Hundred & Seventeen and Paise Twenty Seven Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item48 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15.1 | 125 A,36KA,FPMCCB | item49 | 1 | Nos. | 6579.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6579.57 | 6579.57 | INR Six Thousand Five Hundred & Seventy Nine and Paise Fifty Seven Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | S&F connecting and commissioning indipendent mounting of MCCB enclosure suitable for MCCB's upto 250A in surface/recess I/c cutting the wall and making good the same in case of recessed (Cat No CS-CNM0100021 C & S or approved equivalent make) as reqd. | item50 | 1 | Nos. | 2856.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2856.64 | 2856.64 | INR Two Thousand Eight Hundred & Fifty Six and Paise Sixty Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item51 | 5 | Nos. | 733.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3669.45 | 3669.45 | INR Three Thousand Six Hundred & Sixty Nine and Paise Forty Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item52 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.1 | Single pole 5 A to 32 A | item53 | 36 | Nos. | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6281.28 | 6281.28 | INR Six Thousand Two Hundred & Eighty One and Paise Twenty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.2 | Double pole 5 A to 32 A | item54 | 1 | Nos. | 487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 487.51 | 487.51 | INR Four Hundred & Eighty Seven and Paise Fifty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.3 | Triple pole 5 A to 32 A | item55 | 4 | Nos. | 724.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2896.96 | 2896.96 | INR Two Thousand Eight Hundred & Ninety Six and Paise Ninety Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.4 | Triple pole and neutral 5 A to 32 A | item56 | 4 | Nos. | 957.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3829.88 | 3829.88 | INR Three Thousand Eight Hundred & Twenty Nine and Paise Eighty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.5 | Single Pole (40A-63A) | item57 | 3 | Nos. | 602.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1807.11 | 1807.11 | INR One Thousand Eight Hundred & Seven and Paise Eleven Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
18.6 | Double Pole (40A-63A) | item58 | 2 | Nos. | 1277.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2555.02 | 2555.02 | INR Two Thousand Five Hundred & Fifty Five and Paise Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.7 | Four Pole (40A-63A) | item59 | 1 | Nos. | 2440.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2440.16 | 2440.16 | INR Two Thousand Four Hundred & Forty and Paise Sixteen Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item60 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.1 | 5/6 A switch | item61 | 61 | Nos. | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4546.33 | 4546.33 | INR Four Thousand Five Hundred & Forty Six and Paise Thirty Three Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.2 | 15/16 A switch | item62 | 79 | Nos. | 115.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9143.46 | 9143.46 | INR Nine Thousand One Hundred & Forty Three and Paise Forty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.3 | 3 pin 5/6 A socket outlet | item63 | 25 | Nos. | 97.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2433.25 | 2433.25 | INR Two Thousand Four Hundred & Thirty Three and Paise Twenty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.4 | 6 pin 15/16 A socket outlet | item64 | 79 | Nos. | 153.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12121.76 | 12121.76 | INR Twelve Thousand One Hundred & Twenty One and Paise Seventy Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19.5 | Blanking Plate | item65 | 5 | Nos. | 28.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 140.3 | 140.3 | INR One Hundred & Forty and Paise Thirty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | item66 | 8 | Nos. | 299.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2398.96 | 2398.96 | INR Two Thousand Three Hundred & Ninety Eight and Paise Ninety Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc. as required. | item67 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21.1 | 1 or 2 Module (75mmX75mm) | item68 | 6 | Nos. | 213.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1278.36 | 1278.36 | INR One Thousand Two Hundred & Seventy Eight and Paise Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
21.2 | 3 Module (100mmX75mm) | item69 | 2 | Nos. | 234.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 468.22 | 468.22 | INR Four Hundred & Sixty Eight and Paise Twenty Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.3 | 6 Module (200mmX75mm) | item70 | 2 | Nos. | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 583.96 | 583.96 | INR Five Hundred & Eighty Three and Paise Ninety Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21.4 | 12 Module (200mmX150mm) | item71 | 2 | Nos. | 380.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761.06 | 761.06 | INR Seven Hundred & Sixty One and Paise Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Chemical Earthing with GI earth electrode 50mm dia x 3 mtr length including earth enhancing compound (Jam Fill quality product) and PIT cover for earthing pit etc as reqd. | item72 | 4 | Nos. | 8355.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33423.64 | 33423.64 | INR Thirty Three Thousand Four Hundred & Twenty Three and Paise Sixty Four Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item73 | 30 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5418.6 | 5418.6 | INR Five Thousand Four Hundred & Eighteen and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
24 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item74 | 750 | Meter | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12495 | 12495 | INR Twelve Thousand Four Hundred & Ninety Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item75 | 20 | Nos. | 69.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1385 | 1385 | INR One Thousand Three Hundred & Eighty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item76 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26.1 | 3½ X 35 sq. mm (32mm) | item77 | 1 | Nos. | 263.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263.04 | 263.04 | INR Two Hundred & Sixty Three and Paise Four Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | Supply Installation, testing and commissioning of following ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable etc. as required. | item78 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
27.1 | 1200mm sweep. | item79 | 8 | Nos. | 2797.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22383.2 | 22383.2 | INR Twenty Two Thousand Three Hundred & Eighty Three and Paise Twenty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | Supply, Installation testing and commissioning of following seep, copper wound, 900 RPM, 220 volt AC, 50 Hz exhaust fan in the existing opening etc as required complete. | item80 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.1 | 450 mm / 18" sweep | item81 | 3 | Nos. | 5726.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17179.32 | 17179.32 | INR Seventeen Thousand One Hundred & Seventy Nine and Paise Thirty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29 | Supplying and fixing exhaust fan shutter for following sizes exhaust fan on rag bolts as reqd complete. | item82 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29.1 | for 450 mm / 18" sweep | item83 | 3 | Nos. | 915.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2746.17 | 2746.17 | INR Two Thousand Seven Hundred & Forty Six and Paise Seventeen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item84 | 3 | Nos. | 1080.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3240.69 | 3240.69 | INR Three Thousand Two Hundred & Forty and Paise Sixty Nine Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
31 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item85 | 20 | Nos. | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1666 | 1666 | INR One Thousand Six Hundred & Sixty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. | item86 | 10 | Nos. | 206.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2069.3 | 2069.3 | INR Two Thousand &Sixty Nine and Paise Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Dismantling the old conduit pipe/wood batten of all sizes from surface/recessed & making good the damages I/c filling the holes of the surface etc as reqd.and depositing it in sectional store. | item87 | 50 | Meter | 27.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1359 | 1359 | INR One Thousand Three Hundred & Fifty Nine Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 473433.46 | 473433.46 | INR Four Lakh Seventy Three Thousand Four Hundred & Thirty Three and Paise Forty Six Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information