## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT, Kanpur
Name of Work: Annual Rate Contract for SITC of drinking water fountain with bottle filling station for Academic Buildings and associated works in IIT Kanpur campus
NIT No: EandM/01/12/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | Supply, installation, testing & commissioning of wall hanging drinking online water cooler fountain with bottle filler facility, cooling capacity 8 GPH (gallons per hours) of 50oF drinking water, based on 800 F inlet water and 900 F ambient, per ASHRAE 18 testing , made by stainless steel body, ADA cooler, size approx 472 mm depth x 447 mm width, flexible bubbler guard, operated between 20/50 to 105/120 PSI, chiller unit suitable to R134a refrigerant, adjustable thermostat control, suitable for 220-230v/50-60 hz A/C supply complete with all accessories which include Push bar, the water fountain shall possess EPA/NSF/ANSI (61 & 372) registered antimicrobial copper that flights off microoganisms. energy star saving certification, Mechanical + Sensor Both operation and to be placed at different location of building. installing the water fountain for proper functioning and aesthetic view as directed by the engineer-in-charge without any extra cost. (Note:- 5 Year Limited Warranty on the refrigeration system of the unit Electrical components and water system are warranted for 1 Year DLP from date of installation). | item no.2 | 75 | Nos. | 98000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7350000 | 7350000 | INR Seventy Three Lakh Fifty Thousand Only | 1.01 | Supply, installation, testing & commissioning of wall hanging drinking online water cooler fountain with bottle filler facility, cooling capacity 8 GPH (gallons per hours) of 50oF drinking water, based on 800 F inlet water and 900 F ambient, per ASHRAE 18 testing , made by stainless steel body, ADA cooler, size approx 472 mm depth x 447 mm width, flexible bubbler guard, operated between 20/50 to 105/120 PSI, chiller unit suitable to R134a refrigerant, adjustable thermostat control, suitable for 220-230v/50-60 hz A/C supply complete with all accessories which include Push bar, the water fountain shall possess EPA/NSF/ANSI (61 & 372) registered antimicrobial copper that flights off microoganisms. energy star saving certification, Mechanical + Sensor Both operation and to be placed at different location of building. installing the water fountain for proper functioning and aesthetic view as directed by the engineer-in-charge without any extra cost. (Note:- 5 Year Limited Warranty on the refrigeration system of the unit Electrical components and water system are warranted for 1 Year DLP from date of installation). | item no.2 | 75 | Nos.
1.02 | Supplying Installation and testing commissioning of inline filtration system with 12 Ltr HPT tank within enclosed cabinet. HPT pressure wave tank auto built pressure 3 kg, Consist of 2 Nos. booster pump (min 150 GPD), sediment, corban and Nano filtration will be in closed cabinet. | item no.3 | 55 | Nos. | 19800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1089000 | 1089000 | INR Ten Lakh Eighty Nine Thousand Only | 1.02 | Supplying Installation and testing commissioning of inline filtration system with 12 Ltr HPT tank within enclosed cabinet. HPT pressure wave tank auto built pressure 3 kg, Consist of 2 Nos. booster pump (min 150 GPD), sediment, corban and Nano filtration will be in closed cabinet. | item no.3 | 55 | Nos.
1.03 | Supply & fixing of following PVC/PPR drain pipe heavy duty 3 mm thick outer dia for drain line with elbow & bands , clamps on surface / recessed with as reqd. | item no.4 | [52 empty] | 1.03 | Supply & fixing of following PVC/PPR drain pipe heavy duty 3 mm thick outer dia for drain line with elbow & bands , clamps on surface / recessed with as reqd. | item no.4
1.04 | 20 mm dia | item no.5 | 5 | Mtrs. | 127 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 635 | 635 | INR Six Hundred & Thirty Five Only | 1.04 | 20 mm dia | item no.5 | 5 | Mtrs.
1.05 | 25 mm dia | item no.6 | 5 | Mtrs. | 144 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 720 | 720 | INR Seven Hundred & Twenty Only | 1.05 | 25 mm dia | item no.6 | 5 | Mtrs.
1.06 | 32 mm dia | item no.7 | 5 | Mtrs. | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 670 | 670 | INR Six Hundred & Seventy Only | 1.06 | 32 mm dia | item no.7 | 5 | Mtrs.
1.07 | 40 mm dia | item no.8 | 5 | Mtrs. | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 725 | 725 | INR Seven Hundred & Twenty Five Only | 1.07 | 40 mm dia | item no.8 | 5 | Mtrs.
1.08 | Supplying & Fixing of flexible drain pipe heavy duty in split type Ac's with clamps , supports etc. as reqd. | item no.9 | [52 empty] | 1.08 | Supplying & Fixing of flexible drain pipe heavy duty in split type Ac's with clamps , supports etc. as reqd. | item no.9
1.09 | 20 mm dia | item no.10 | 5 | Mtrs. | 104 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 520 | 520 | INR Five Hundred & Twenty Only | 1.09 | 20 mm dia | item no.10 | 5 | Mtrs.
1.1 | 25 mm dia | item no.11 | 5 | Mtrs. | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 545 | 545 | INR Five Hundred & Forty Five Only | 1.1 | 25 mm dia | item no.11 | 5 | Mtrs.
1.11 | 32 mm dia | item no.12 | 5 | Mtrs. | 115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 575 | 575 | INR Five Hundred & Seventy Five Only | 1.11 | 32 mm dia | item no.12 | 5 | Mtrs.
1.12 | Supplying & fixing of plug top of anchor make as reqd. | item no.13 | [52 empty] | 1.12 | Supplying & fixing of plug top of anchor make as reqd. | item no.13
1.13 | 15/16 amp | item no.14 | 5 | Nos. | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 655 | 655 | INR Six Hundred & Fifty Five Only | 1.13 | 15/16 amp | item no.14 | 5 | Nos.
1.14 | Supplying & fixing of metallic plug top/ metallic socket 20 Amp. of Legrand make in window Acs / deep freezer complete with connection as reqd. | item no.15 | [52 empty] | 1.14 | Supplying & fixing of metallic plug top/ metallic socket 20 Amp. of Legrand make in window Acs / deep freezer complete with connection as reqd. | item no.15
1.15 | 15 Amp. Metallic Plug Top | item no.16 | 5 | Nos. | 186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 930 | 930 | INR Nine Hundred & Thirty Only | 1.15 | 15 Amp. Metallic Plug Top | item no.16 | 5 | Nos.
Total in Figures | [51 empty] | 8444975 | 8444975 | Eighty Four Lakh Forty Four Thousand Nine Hundred & Seventy Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information