## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing and making additional power and network points with other associated works in various rooms of ESB-III Building, IIT Kanpur
NIT No: Electrical/19/12/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1
1.02 | 3 x 1.5 sq. mm | item no.2 | 1600 | Metre | 83.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133296 | 133296 | INR One Lakh Thirty Three Thousand Two Hundred & Ninety Six Only | 1.02 | 3 x 1.5 sq. mm | item no.2 | 1600 | Metre
1.03 | 3 x 4 sq. mm | item no.3 | 500 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90310 | 90310 | INR Ninety Thousand Three Hundred & Ten Only | 1.03 | 3 x 4 sq. mm | item no.3 | 500 | Metre
1.04 | 3 x 10 sq.mm. | item no.5 | 200 | Meter | 508.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101710 | 101710 | INR One Lakh One Thousand Seven Hundred & Ten Only | 1.04 | 3 x 10 sq.mm. | item no.5 | 200 | Meter
1.05 | 6 x 16 sq.mm. | item no.6 | 250 | Meter | 1523.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 380973 | 380973 | INR Three Lakh Eighty Thousand Nine Hundred & Seventy Three Only | 1.05 | 6 x 16 sq.mm. | item no.6 | 250 | Meter
1.06 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.7 | 80 | Meter | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18238 | 18238 | INR Eighteen Thousand Two Hundred & Thirty Eight Only | 1.06 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.7 | 80 | Meter
1.07 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.8 | [52 empty] | 1.07 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.8
1.08 | End cap | item no.9 | 12 | Nos. | 150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810 | 1810 | INR One Thousand Eight Hundred & Ten Only | 1.08 | End cap | item no.9 | 12 | Nos.
1.09 | internal / external angle | item no.10 | 20 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2911 | 2911 | INR Two Thousand Nine Hundred & Eleven Only | 1.09 | internal / external angle | item no.10 | 20 | Nos.
1.1 | changeable flat angle | item no.11 | 15 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1854 | 1854 | INR One Thousand Eight Hundred & Fifty Four Only | 1.1 | changeable flat angle | item no.11 | 15 | Nos.
1.11 | flat junction | item no.12 | 8 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1150 | 1150 | INR One Thousand One Hundred & Fifty Only | 1.11 | flat junction | item no.12 | 8 | Nos.
1.12 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.14 | 150 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146910 | 146910 | INR One Lakh Forty Six Thousand Nine Hundred & Ten Only | 1.12 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.14 | 150 | Meter
1.13 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.15 | [52 empty] | 1.13 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.15
1.14 | 85 mm flexible cover | item no.16 | 135 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58356 | 58356 | INR Fifty Eight Thousand Three Hundred & Fifty Six Only | 1.14 | 85 mm flexible cover | item no.16 | 135 | Meter
1.15 | End cap | item no.17 | 10 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1947 | 1947 | INR One Thousand Nine Hundred & Forty Seven Only | 1.15 | End cap | item no.17 | 10 | Nos.
1.16 | Internal angles- adjustable from 80°-100° | item no.18 | 20 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10785 | 10785 | INR Ten Thousand Seven Hundred & Eighty Five Only | 1.16 | Internal angles- adjustable from 80°-100° | item no.18 | 20 | Nos.
1.17 | external angles- adjustable from 60°-120° | item no.19 | 22 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12114 | 12114 | INR Twelve Thousand One Hundred & Fourteen Only | 1.17 | external angles- adjustable from 60°-120° | item no.19 | 22 | Nos.
1.18 | flat junction | item no.20 | 10 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9382 | 9382 | INR Nine Thousand Three Hundred & Eighty Two Only | 1.18 | flat junction | item no.20 | 10 | Nos.
1.19 | flat angles | item no.21 | 8 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6103 | 6103 | INR Six Thousand One Hundred & Three Only | 1.19 | flat angles | item no.21 | 8 | Nos.
1.2 | separation partitions | item no.23 | 100 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26041 | 26041 | INR Twenty Six Thousand &Forty One Only | 1.2 | separation partitions | item no.23 | 100 | Meter
1.21 | Joints for 85mm width cover | item no.24 | 65 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14590 | 14590 | INR Fourteen Thousand Five Hundred & Ninety Only | 1.21 | Joints for 85mm width cover | item no.24 | 65 | Nos.
1.22 | base joints | item no.25 | 100 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9031 | 9031 | INR Nine Thousand &Thirty One Only | 1.22 | base joints | item no.25 | 100 | Nos.
1.23 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.26 | [52 empty] | 1.23 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.26
1.24 | 25 mm | item no.27 | 20 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1420 | 1420 | INR One Thousand Four Hundred & Twenty Only | 1.24 | 25 mm | item no.27 | 20 | Meter
1.25 | 32 mm | item no.29 | 16 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1333 | 1333 | INR One Thousand Three Hundred & Thirty Three Only | 1.25 | 32 mm | item no.29 | 16 | Meter
1.26 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | item no.30 | [52 empty] | 1.26 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | item no.30
1.27 | 300 mm width X 50 mm depth X 1.6 mm thickness | item no.31 | 20 | Metre | 681.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13626 | 13626 | INR Thirteen Thousand Six Hundred & Twenty Six Only | 1.27 | 300 mm width X 50 mm depth X 1.6 mm thickness | item no.31 | 20 | Metre
1.28 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.32 | [52 empty] | 1.28 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.32
1.29 | 25 mm | item no.33 | 25 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5612 | 5612 | INR Five Thousand Six Hundred & Twelve Only | 1.29 | 25 mm | item no.33 | 25 | Metre
1.3 | 32 mm | item no.34 | 25 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7146 | 7146 | INR Seven Thousand One Hundred & Forty Six Only | 1.3 | 32 mm | item no.34 | 25 | Metre
1.31 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.36 | [52 empty] | 1.31 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.36
1.32 | 6 A switch | item no.37 | 300 | No. | 239.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71811 | 71811 | INR Seventy One Thousand Eight Hundred & Eleven Only | 1.32 | 6 A switch | item no.37 | 300 | No.
1.33 | 20 A switch | item no.38 | 50 | No. | 426.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21307 | 21307 | INR Twenty One Thousand Three Hundred & Seven Only | 1.33 | 20 A switch | item no.38 | 50 | No.
1.34 | 6 A pin 2/3 pin socket outlet | item no.39 | 300 | No. | 279.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83910 | 83910 | INR Eighty Three Thousand Nine Hundred & Ten Only | 1.34 | 6 A pin 2/3 pin socket outlet | item no.39 | 300 | No.
1.35 | 6/16 A 3 pin socket outlet | item no.40 | 50 | No. | 546.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27313 | 27313 | INR Twenty Seven Thousand Three Hundred & Thirteen Only | 1.35 | 6/16 A 3 pin socket outlet | item no.40 | 50 | No.
1.36 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.41 | [52 empty] | 1.36 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.41
1.37 | 3 module | item no.42 | 50 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15038 | 15038 | INR Fifteen Thousand &Thirty Eight Only | 1.37 | 3 module | item no.42 | 50 | Nos.
1.38 | 6 module | item no.43 | 150 | Nos. | 403.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60500 | 60500 | INR Sixty Thousand Five Hundred Only | 1.38 | 6 module | item no.43 | 150 | Nos.
1.39 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.44 | 7200 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132552 | 132552 | INR One Lakh Thirty Two Thousand Five Hundred & Fifty Two Only | 1.39 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.44 | 7200 | Meter
1.4 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.45 | 180 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14362 | 14362 | INR Fourteen Thousand Three Hundred & Sixty Two Only | 1.4 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.45 | 180 | Nos.
1.41 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.46 | 35 | Nos. | 2728.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95502 | 95502 | INR Ninety Five Thousand Five Hundred & Two Only | 1.41 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.46 | 35 | Nos.
1.42 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.47 | 13 | Nos. | 906.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11786 | 11786 | INR Eleven Thousand Seven Hundred & Eighty Six Only | 1.42 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.47 | 13 | Nos.
1.43 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.48 | [52 empty] | 1.43 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.48
1.44 | Single pole 5 A to 32 A | item no.49 | 135 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30302 | 30302 | INR Thirty Thousand Three Hundred & Two Only | 1.44 | Single pole 5 A to 32 A | item no.49 | 135 | No.
1.45 | Triple pole and neutral 5 A to 32 A | item no.50 | 19 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20458 | 20458 | INR Twenty Thousand Four Hundred & Fifty Eight Only | 1.45 | Triple pole and neutral 5 A to 32 A | item no.50 | 19 | No.
1.46 | Triple pole (40A-63A) | item no.51 | 30 | Nos. | 2427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72810 | 72810 | INR Seventy Two Thousand Eight Hundred & Ten Only | 1.46 | Triple pole (40A-63A) | item no.51 | 30 | Nos.
1.47 | Four Pole (40A-63A) | item no.52 | 6 | Nos. | 3037.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18224 | 18224 | INR Eighteen Thousand Two Hundred & Twenty Four Only | 1.47 | Four Pole (40A-63A) | item no.52 | 6 | Nos.
1.48 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without | item no.53 | [52 empty] | 1.48 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without | item no.53
1.49 | 4 way (4 +12), Double door | item no.54 | 12 | No. | 3587.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43044 | 43044 | INR Forty Three Thousand &Forty Four Only | 1.49 | 4 way (4 +12), Double door | item no.54 | 12 | No.
1.5 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.55 | 5 | No. | 7051.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35256 | 35256 | INR Thirty Five Thousand Two Hundred & Fifty Six Only | 1.5 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.55 | 5 | No.
1.51 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.56 | 150 | Metre | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32091 | 32091 | INR Thirty Two Thousand &Ninety One Only | 1.51 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.56 | 150 | Metre
1.52 | Supplying and laying of one no. 3.5 x 150.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item no.58 | [52 empty] | 1.52 | Supplying and laying of one no. 3.5 x 150.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item no.58
1.53 | On Surface | item no.59 | 25 | Meter | 946.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23674 | 23674 | INR Twenty Three Thousand Six Hundred & Seventy Four Only | 1.53 | On Surface | item no.59 | 25 | Meter
1.54 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.60 | [52 empty] | 1.54 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.60
1.55 | 3½ X 150 sq. mm (50mm) | item no.61 | 2 | No. | 611.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1222 | 1222 | INR One Thousand Two Hundred & Twenty Two Only | 1.55 | 3½ X 150 sq. mm (50mm) | item no.61 | 2 | No.
1.56 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.62 | [52 empty] | 1.56 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.62
1.57 | 200 A,36KA,FPMCCB | item no.63 | 1 | No. | 13332.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13333 | 13333 | INR Thirteen Thousand Three Hundred & Thirty Three Only | 1.57 | 200 A,36KA,FPMCCB | item no.63 | 1 | No.
1.58 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | item no.64 | 10 | No. | 11.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 114 | 114 | INR One Hundred & Fourteen Only | 1.58 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | item no.64 | 10 | No.
1.59 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, incomer TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.65 | [52 empty] | 1.59 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, incomer TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.65
1.6 | 8 way , Double door | item no.66 | 1 | No. | 28105.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28105 | 28105 | INR Twenty Eight Thousand One Hundred & Five Only | 1.6 | 8 way , Double door | item no.66 | 1 | No.
1.61 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.67 | [52 empty] | 1.61 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.67
1.62 | 6 /10/16 Sq.mm. | item no.68 | 10 | Nos. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 333 | 333 | INR Three Hundred & Thirty Three Only | 1.62 | 6 /10/16 Sq.mm. | item no.68 | 10 | Nos.
Total in Figures | [51 empty] | 1909695 | #REF! | Nineteen Lakh Nine Thousand Six Hundred & Ninety Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information