## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT, Kanpur
Name of Work: Electrical Modification Works at NL-I-115 extension in IIT Kanpur
NIT No: Electrical/09/02/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.2 | [52 empty] | 1.01 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.2
1.02 | Group C | item no.3 | 25 | Point | 783.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19596.75 | 19596.75 | INR Nineteen Thousand Five Hundred & Ninety Six and Paise Seventy Five Only | 1.02 | Group C | item no.3 | 25 | Point
1.03 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.4 | [52 empty] | 1.03 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.4
1.04 | 3 x 1.5 sq. mm | item no.5 | 75 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6247.5 | 6247.5 | INR Six Thousand Two Hundred & Forty Seven and Paise Fifty Only | 1.04 | 3 x 1.5 sq. mm | item no.5 | 75 | Metre
1.05 | 3 x 2.5 sq. mm | item no.6 | 25 | Metre | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3003 | 3003 | INR Three Thousand &Three Only | 1.05 | 3 x 2.5 sq. mm | item no.6 | 25 | Metre
1.06 | 3 x 4 sq. mm | item no.7 | 60 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10837.2 | 10837.2 | INR Ten Thousand Eight Hundred & Thirty Seven and Paise Twenty Only | 1.06 | 3 x 4 sq. mm | item no.7 | 60 | Metre
1.07 | 3 x 6 sq. mm | item no.8 | 75 | Metre | 266.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19991.25 | 19991.25 | INR Nineteen Thousand Nine Hundred & Ninety One and Paise Twenty Five Only | 1.07 | 3 x 6 sq. mm | item no.8 | 75 | Metre
1.08 | 6 x 16 sq.mm. | item no.9 | 40 | Meter | 1524.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60990.8 | 60990.8 | INR Sixty Thousand Nine Hundred & Ninety and Paise Eighty Only | 1.08 | 6 x 16 sq.mm. | item no.9 | 40 | Meter
1.09 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.10 | 50 | Meter | 228.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11442.5 | 11442.5 | INR Eleven Thousand Four Hundred & Forty Two and Paise Fifty Only | 1.09 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.10 | 50 | Meter
1.1 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.11 | [52 empty] | 1.1 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.11
1.11 | End cap | item no.12 | 4 | Nos. | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 606.76 | 606.76 | INR Six Hundred & Six and Paise Seventy Six Only | 1.11 | End cap | item no.12 | 4 | Nos.
1.12 | internal / external angle | item no.13 | 8 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1171.44 | 1171.44 | INR One Thousand One Hundred & Seventy One and Paise Forty Four Only | 1.12 | internal / external angle | item no.13 | 8 | Nos.
1.13 | changeable flat angle | item no.14 | 9 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1112.67 | 1112.67 | INR One Thousand One Hundred & Twelve and Paise Sixty Seven Only | 1.13 | changeable flat angle | item no.14 | 9 | Nos.
1.14 | flat junction | item no.15 | 3 | Nos. | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 434.01 | 434.01 | INR Four Hundred & Thirty Four and Paise One Only | 1.14 | flat junction | item no.15 | 3 | Nos.
1.15 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.16 | 40 | Meter | 980.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39210.8 | 39210.8 | INR Thirty Nine Thousand Two Hundred & Ten and Paise Eighty Only | 1.15 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.16 | 40 | Meter
1.16 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.17 | [52 empty] | 1.16 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.17
1.17 | 85 mm flexible cover | item no.18 | 40 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17290.8 | 17290.8 | INR Seventeen Thousand Two Hundred & Ninety and Paise Eighty Only | 1.17 | 85 mm flexible cover | item no.18 | 40 | Meter
1.18 | End cap | item no.19 | 4 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 778.6 | 778.6 | INR Seven Hundred & Seventy Eight and Paise Sixty Only | 1.18 | End cap | item no.19 | 4 | Nos.
1.19 | Internal angles- adjustable from 80°-100° | item no.20 | 3 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1617.72 | 1617.72 | INR One Thousand Six Hundred & Seventeen and Paise Seventy Two Only | 1.19 | Internal angles- adjustable from 80°-100° | item no.20 | 3 | Nos.
1.2 | external angles- adjustable from 60°-120° | item no.21 | 2 | Nos. | 551.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1103.02 | 1103.02 | INR One Thousand One Hundred & Three and Paise Two Only | 1.2 | external angles- adjustable from 60°-120° | item no.21 | 2 | Nos.
1.21 | flat junction | item no.22 | 1 | Nos. | 939.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 939.06 | 939.06 | INR Nine Hundred & Thirty Nine and Paise Six Only | 1.21 | flat junction | item no.22 | 1 | Nos.
1.22 | flat angles | item no.23 | 3 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2288.46 | 2288.46 | INR Two Thousand Two Hundred & Eighty Eight and Paise Forty Six Only | 1.22 | flat angles | item no.23 | 3 | Nos.
1.23 | separation partitions | item no.24 | 15 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3906.15 | 3906.15 | INR Three Thousand Nine Hundred & Six and Paise Fifteen Only | 1.23 | separation partitions | item no.24 | 15 | Meter
1.24 | Joints for 85mm width cover | item no.25 | 18 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4040.28 | 4040.28 | INR Four Thousand &Forty and Paise Twenty Eight Only | 1.24 | Joints for 85mm width cover | item no.25 | 18 | Nos.
1.25 | base joints | item no.26 | 36 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3251.16 | 3251.16 | INR Three Thousand Two Hundred & Fifty One and Paise Sixteen Only | 1.25 | base joints | item no.26 | 36 | Nos.
1.26 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.27 | [52 empty] | 1.26 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.27
1.27 | 3 module | item no.28 | 3 | Nos. | 301.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 904.86 | 904.86 | INR Nine Hundred & Four and Paise Eighty Six Only | 1.27 | 3 module | item no.28 | 3 | Nos.
1.28 | 6 module | item no.29 | 2 | Nos. | 404.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 808.42 | 808.42 | INR Eight Hundred & Eight and Paise Forty Two Only | 1.28 | 6 module | item no.29 | 2 | Nos.
1.29 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.30 | [52 empty] | 1.29 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.30
1.3 | 6 A switch | item no.31 | 3 | No. | 240.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 720.75 | 720.75 | INR Seven Hundred & Twenty and Paise Seventy Five Only | 1.3 | 6 A switch | item no.31 | 3 | No.
1.31 | 20 A switch | item no.32 | 4 | No. | 427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1708.04 | 1708.04 | INR One Thousand Seven Hundred & Eight and Paise Four Only | 1.31 | 20 A switch | item no.32 | 4 | No.
1.32 | 6 A pin 2/3 pin socket outlet | item no.33 | 3 | No. | 280.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 841.74 | 841.74 | INR Eight Hundred & Forty One and Paise Seventy Four Only | 1.32 | 6 A pin 2/3 pin socket outlet | item no.33 | 3 | No.
1.33 | 6/16 A 3 pin socket outlet | item no.34 | 4 | No. | 547.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2188.52 | 2188.52 | INR Two Thousand One Hundred & Eighty Eight and Paise Fifty Two Only | 1.33 | 6/16 A 3 pin socket outlet | item no.34 | 4 | No.
1.34 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.35 | [52 empty] | 1.34 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.35
1.35 | 12 way (4 + 36), Double door | item no.36 | 1 | No. | 11252.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11252.08 | 11252.08 | INR Eleven Thousand Two Hundred & Fifty Two and Paise Eight Only | 1.35 | 12 way (4 + 36), Double door | item no.36 | 1 | No.
1.36 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.37 | [52 empty] | 1.36 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.37
1.37 | Single pole 5 A to 32 A | item no.38 | 21 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4713.66 | 4713.66 | INR Four Thousand Seven Hundred & Thirteen and Paise Sixty Six Only | 1.37 | Single pole 5 A to 32 A | item no.38 | 21 | No.
1.38 | Double pole 5 A to 32 A | item no.39 | 2 | No. | 575.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1150.38 | 1150.38 | INR One Thousand One Hundred & Fifty and Paise Thirty Eight Only | 1.38 | Double pole 5 A to 32 A | item no.39 | 2 | No.
1.39 | Triple pole 5 A to 32 A | item no.40 | 2 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1765.9 | 1765.9 | INR One Thousand Seven Hundred & Sixty Five and Paise Ninety Only | 1.39 | Triple pole 5 A to 32 A | item no.40 | 2 | No.
1.4 | Single Pole (40A-63A) | item no.41 | 3 | Nos. | 721.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2164.83 | 2164.83 | INR Two Thousand One Hundred & Sixty Four and Paise Eighty Three Only | 1.4 | Single Pole (40A-63A) | item no.41 | 3 | Nos.
1.41 | Double Pole (40A-63A) | item no.42 | 2 | Nos. | 1574.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3149.5 | 3149.5 | INR Three Thousand One Hundred & Forty Nine and Paise Fifty Only | 1.41 | Double Pole (40A-63A) | item no.42 | 2 | Nos.
1.42 | Triple pole (40A-63A) | item no.43 | 2 | Nos. | 2428.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4857.52 | 4857.52 | INR Four Thousand Eight Hundred & Fifty Seven and Paise Fifty Two Only | 1.42 | Triple pole (40A-63A) | item no.43 | 2 | Nos.
1.43 | Four Pole (40A-63A) | item no.44 | 1 | Nos. | 3038.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038.14 | 3038.14 | INR Three Thousand &Thirty Eight and Paise Fourteen Only | 1.43 | Four Pole (40A-63A) | item no.44 | 1 | Nos.
1.44 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.45 | 4 | Nos. | 910.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3640.52 | 3640.52 | INR Three Thousand Six Hundred & Forty and Paise Fifty Two Only | 1.44 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.45 | 4 | Nos.
1.45 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.46 | 30 | Meter | 19.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 578.7 | 578.7 | INR Five Hundred & Seventy Eight and Paise Seventy Only | 1.45 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.46 | 30 | Meter
1.46 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.47 | 1 | Nos. | 81.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81.54 | 81.54 | INR Eighty One and Paise Fifty Four Only | 1.46 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.47 | 1 | Nos.
1.47 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.48 | [52 empty] | 1.47 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.48
1.48 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.49 | 21 | Nos. | 5994.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125889.54 | 125889.54 | INR One Lakh Twenty Five Thousand Eight Hundred & Eighty Nine and Paise Fifty Four Only | 1.48 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.49 | 21 | Nos.
1.49 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.50 | 4 | Each | 2393.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9574.76 | 9574.76 | INR Nine Thousand Five Hundred & Seventy Four and Paise Seventy Six Only | 1.49 | Supply, Installation, Testing and Commissioning of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CM/M/W) minimum 6.00, Air delivery minimum 210 Cum/Min, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | item no.50 | 4 | Each
1.5 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item no.51 | 1 | No. | 1421.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1421.31 | 1421.31 | INR One Thousand Four Hundred & Twenty One and Paise Thirty One Only | 1.5 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item no.51 | 1 | No.
1.51 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.52 | [52 empty] | 1.51 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.52
1.52 | 5/6 A switch | item no.53 | 25 | No. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2257.75 | 2257.75 | INR Two Thousand Two Hundred & Fifty Seven and Paise Seventy Five Only | 1.52 | 5/6 A switch | item no.53 | 25 | No.
1.53 | Blanking Plate | item no.54 | 2 | No. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70.14 | 70.14 | INR Seventy and Paise Fourteen Only | 1.53 | Blanking Plate | item no.54 | 2 | No.
1.54 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.55 | [52 empty] | 1.54 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.55
1.55 | lor 2 Module | item no.56 | 14 | No. | 116.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1632.68 | 1632.68 | INR One Thousand Six Hundred & Thirty Two and Paise Sixty Eight Only | 1.55 | lor 2 Module | item no.56 | 14 | No.
1.56 | 6 Module | item no.57 | 1 | No. | 159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 159.58 | 159.58 | INR One Hundred & Fifty Nine and Paise Fifty Eight Only | 1.56 | 6 Module | item no.57 | 1 | No.
1.57 | 12 Module | item no.58 | 2 | No. | 238.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 476.98 | 476.98 | INR Four Hundred & Seventy Six and Paise Ninety Eight Only | 1.57 | 12 Module | item no.58 | 2 | No.
1.58 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.59 | [52 empty] | 1.58 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.59
1.59 | 1 or 2 Module | item no.60 | 14 | Nos. | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4149.04 | 4149.04 | INR Four Thousand One Hundred & Forty Nine and Paise Four Only | 1.59 | 1 or 2 Module | item no.60 | 14 | Nos.
1.6 | 6 Module | item no.61 | 1 | Nos. | 374.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 374.4 | 374.4 | INR Three Hundred & Seventy Four and Paise Forty Only | 1.6 | 6 Module | item no.61 | 1 | Nos.
1.61 | 12 Module | item no.62 | 2 | Nos. | 826.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1653.66 | 1653.66 | INR One Thousand Six Hundred & Fifty Three and Paise Sixty Six Only | 1.61 | 12 Module | item no.62 | 2 | Nos.
1.62 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.63 | [52 empty] | 1.62 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.63
1.63 | 6 /10/16 Sq.mm. | item no.64 | 36 | Nos. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1199.52 | 1199.52 | INR One Thousand One Hundred & Ninety Nine and Paise Fifty Two Only | 1.63 | 6 /10/16 Sq.mm. | item no.64 | 36 | Nos.
1.64 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.65 | [52 empty] | 1.64 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.65
1.65 | 32 mm | item no.66 | 30 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8575.2 | 8575.2 | INR Eight Thousand Five Hundred & Seventy Five and Paise Twenty Only | 1.65 | 32 mm | item no.66 | 30 | Metre
1.66 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.67 | [52 empty] | 1.66 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.67
1.67 | 20 mm | item no.68 | 10 | Meter | 49.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 499.8 | 499.8 | INR Four Hundred & Ninety Nine and Paise Eighty Only | 1.67 | 20 mm | item no.68 | 10 | Meter
1.68 | 32 mm | item no.69 | 10 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 833 | 833 | INR Eight Hundred & Thirty Three Only | 1.68 | 32 mm | item no.69 | 10 | Meter
1.69 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required. | item no.70 | [52 empty] | 1.69 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed Steel/ PVC conduit as required. | item no.70
1.7 | 1 run of cable | item no.71 | 50 | Metre | 49.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2499 | 2499 | INR Two Thousand Four Hundred & Ninety Nine Only | 1.7 | 1 run of cable | item no.71 | 50 | Metre
1.71 | 2 run of cable | item no.72 | 50 | Metre | 84.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4208.5 | 4208.5 | INR Four Thousand Two Hundred & Eight and Paise Fifty Only | 1.71 | 2 run of cable | item no.72 | 50 | Metre
1.72 | 3 run of cable | item no.73 | 50 | Metre | 117.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5874.5 | 5874.5 | INR Five Thousand Eight Hundred & Seventy Four and Paise Fifty Only | 1.72 | 3 run of cable | item no.73 | 50 | Metre
1.73 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.74 | [52 empty] | 1.73 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.74
1.74 | RJ 45 UTP cat 6 tooless with shutter 1M | item no.75 | 14 | Nos. | 204.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2860.2 | 2860.2 | INR Two Thousand Eight Hundred & Sixty and Paise Twenty Only | 1.74 | RJ 45 UTP cat 6 tooless with shutter 1M | item no.75 | 14 | Nos.
1.75 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.76 | 25 | Nos. | 96.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2411.25 | 2411.25 | INR Two Thousand Four Hundred & Eleven and Paise Twenty Five Only | 1.75 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.76 | 25 | Nos.
1.76 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. | item no.77 | 15 | Nos. | 244.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3669.45 | 3669.45 | INR Three Thousand Six Hundred & Sixty Nine and Paise Forty Five Only | 1.76 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. | item no.77 | 15 | Nos.
Total in Figures | [51 empty] | 433715 | 433715.29 | Four Lakh Thirty Three Thousand Seven Hundred & Fifteen and Paise Twenty Nine Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information