## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC of modular cold rooms with associated works for Mess at various Halls at IIT Kanpur.
NIT No: HVAC/28/03/2024-2
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Providing & fixing of cold room 01x10000 btu/hrs with associated works at HALL-III Mess | item no.1 | [52 empty] | 1.01 | Providing & fixing of cold room 01x10000 btu/hrs with associated works at HALL-III Mess | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 116" (L) (Ext.) x 116"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (01 No.) to maintain a temp. +4 (+/-2)° C and evaporator units (01 No.) consist of 01 No. controller panel with temp. indicator i/c freight forwarding, packing and transit insurance, testing etc. | item no.2 | 1 | No. | 255658 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 255658 | 255658 | INR Two Lakh Fifty Five Thousand Six Hundred & Fifty Eight Only | 1.02 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 116" (L) (Ext.) x 116"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (01 No.) to maintain a temp. +4 (+/-2)° C and evaporator units (01 No.) consist of 01 No. controller panel with temp. indicator i/c freight forwarding, packing and transit insurance, testing etc. | item no.2 | 1 | No. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.3 | 1 | Lot | 32800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32800 | 32800 | INR Thirty Two Thousand Eight Hundred Only | 1.03 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.3 | 1 | Lot | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.4 | 1 | Job | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10000 | 10000 | INR Ten Thousand Only | 1.04 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.4 | 1 | Job
1.05 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-IV Mess | item no.5 | [52 empty] | 1.05 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-IV Mess | item no.5
1.06 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 116" (L) (Ext.) x 116"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) consist of (02 x 02 = 04 Nos), indoor for motors with temp. indicator and control panel i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.6 | 1 | No. | 342514 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 342514 | 342514 | INR Three Lakh Forty Two Thousand Five Hundred & Fourteen Only | 1.06 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 116" (L) (Ext.) x 116"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) consist of (02 x 02 = 04 Nos), indoor for motors with temp. indicator and control panel i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.6 | 1 | No.
1.07 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.7 | 1 | Lot | 41000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41000 | 41000 | INR Forty One Thousand Only | 1.07 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.7 | 1 | Lot | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.8 | 1 | Job | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10000 | 10000 | INR Ten Thousand Only | 1.08 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.8 | 1 | Job
1.09 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-VII Mess | item no.9 | [52 empty] | 1.09 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-VII Mess | item no.9 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 139" (L) (Ext.) x 127.5"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) with temp. indicator, i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.10 | 1 | No. | 364634 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 364634 | 364634 | INR Three Lakh Sixty Four Thousand Six Hundred & Thirty Four Only | 1.1 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 139" (L) (Ext.) x 127.5"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) with temp. indicator, i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.10 | 1 | No. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.11 | 1 | Lot | 41000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41000 | 41000 | INR Forty One Thousand Only | 1.11 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.11 | 1 | Lot | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.12 | 1 | Job | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10000 | 10000 | INR Ten Thousand Only | 1.12 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.12 | 1 | Job
1.13 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-X Mess | item no.13 | [52 empty] | 1.13 | Providing & fixing of cold room 02x10000 btu/hrs with associated works at HALL-X Mess | item no.13
1.14 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 130" (L) (Ext.) x 120"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) consist of (02 x 02 = 04 Nos), indoor for motors with temp. indicator and control panel i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.14 | 1 | No. | 356790 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356790 | 356790 | INR Three Lakh Fifty Six Thousand Seven Hundred & Ninety Only | 1.14 | Supply, installation, testing & commissioning of prefabricated (Cyclopentane) CFC free panels for chiller rooms with wall & ceiling panels as per specifications, wall & ceiling panel :- 60 mm thick cyclopentane panels, PPGI and outside PPGI finish both sides( internal & external ), hinging door size 34" x 78" with interlocking arrangement to make walk in cooler room of size :- 130" (L) (Ext.) x 120"(W)(Ext.) x 96"(H) and refrigerant equipments for chiller room of cooling capacity (10,000 Btu/Hr/ Machine) consists of air cooled condensing unit (02 Nos.) to maintain a temp. +4 (+/-2)° C and evaporator units (02 Nos.) consist of (02 x 02 = 04 Nos), indoor for motors with temp. indicator and control panel i/c freight forwarding, packing and transit insurance, testing etc as reqd. | item no.14 | 1 | No.
1.15 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.15 | 1 | Lot | 41000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41000 | 41000 | INR Forty One Thousand Only | 1.15 | Supply & Fixing of Copper piping for suction & discharge line with insulation on surface / recessed with clamps, screws etc. complete from evaporating to condensing unit, Supply & fixing of angle iron Frame for Condensing units & ¾ core power Supply control copper cable as required | item no.15 | 1 | Lot
1.16 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.16 | 1 | Job | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10000 | 10000 | INR Ten Thousand Only | 1.16 | Dismantling & shifting of old cold room scrap to the desired location etc. Complete as reqd. | item no.16 | 1 | Job
Total in Figures | [51 empty] | 1515396 | 1515396 | Fifteen Lakh Fifteen Thousand Three Hundred & Ninety Six Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information