## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC of fire alarm system in various Lecture Halls and LH office, IIT Kanpur
NIT No: Electrical/08/05/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 | 1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1
2 | 2 x 1.5 sq. mm | item no.2 | 300 | Metre | 61.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18414 | 18414 | INR Eighteen Thousand Four Hundred & Fourteen Only | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 | 2 | 2 x 1.5 sq. mm | item no.2 | 300 | Metre
3 | 3 x 1.5 sq. mm | item no.3 | 150 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12495 | 12495 | INR Twelve Thousand Four Hundred & Ninety Five Only |  |  |  | 3 | 3 x 1.5 sq. mm | item no.3 | 150 | Metre
4 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required. | item no.4 | [55 empty] | 4 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections, interconnections as required. | item no.4
5 | 10 Zone | item no.5 | 1 | No. | 14280.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14281 | 14281 | INR Fourteen Thousand Two Hundred & Eighty One Only |  |  |  | 5 | 10 Zone | item no.5 | 1 | No.
6 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | item no.6 | 8 | No. | 1010.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8088 | 8088 | INR Eight Thousand &Eighty Eight Only |  |  |  | 6 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | item no.6 | 8 | No.
7 | Supplying, installation, testing & commissioning of manual call box of ABS type in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | item no.7 | 4 | No. | 357.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1431 | 1431 | INR One Thousand Four Hundred & Thirty One Only |  |  |  | 7 | Supplying, installation, testing & commissioning of manual call box of ABS type in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | item no.7 | 4 | No.
8 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | item no.8 | 7 | No. | 171.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1203 | 1203 | INR One Thousand Two Hundred & Three Only |  |  |  | 8 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | item no.8 | 7 | No.
9 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | item no.9 | 4 | No. | 488.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1954 | 1954 | INR One Thousand Nine Hundred & Fifty Four Only |  |  |  | 9 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | item no.9 | 4 | No.
10 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.10 | [55 empty] | 10 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.10
11 | 20 mm | item no.11 | 10 | Metre | 195.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1955 | 1955 | INR One Thousand Nine Hundred & Fifty Five Only |  |  |  | 11 | 20 mm | item no.11 | 10 | Metre
12 | 25 mm | item no.12 | 20 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4489 | 4489 | INR Four Thousand Four Hundred & Eighty Nine Only |  |  |  | 12 | 25 mm | item no.12 | 20 | Metre
13 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.13 | [55 empty] | 13 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.13
14 | 5/6 A switch | item no.14 | 10 | No. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 903 | 903 | INR Nine Hundred & Three Only |  |  |  | 14 | 5/6 A switch | item no.14 | 10 | No.
15 | 3 pin 5/6 A socket outlet | item no.15 | 10 | No. | 106.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1070 | 1070 | INR One Thousand &Seventy Only |  |  |  | 15 | 3 pin 5/6 A socket outlet | item no.15 | 10 | No.
16 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.16 | [55 empty] | 16 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item no.16
17 | 3 Module | item no.17 | 10 | No. | 132.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1324 | 1324 | INR One Thousand Three Hundred & Twenty Four Only |  |  |  | 17 | 3 Module | item no.17 | 10 | No.
18 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.18 | 180 | Meter | 228.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41193 | 41193 | INR Forty One Thousand One Hundred & Ninety Three Only |  |  |  | 18 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.18 | 180 | Meter
19 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.19 | [55 empty] | 19 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.19
20 | End cap | item no.20 | 10 | Nos. | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1517 | 1517 | INR One Thousand Five Hundred & Seventeen Only |  |  |  | 20 | End cap | item no.20 | 10 | Nos.
21 | internal / external angle | item no.21 | 20 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2929 | 2929 | INR Two Thousand Nine Hundred & Twenty Nine Only |  |  |  | 21 | internal / external angle | item no.21 | 20 | Nos.
22 | changeable flat angle | item no.22 | 20 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2473 | 2473 | INR Two Thousand Four Hundred & Seventy Three Only |  |  |  | 22 | changeable flat angle | item no.22 | 20 | Nos.
23 | flat junction | item no.23 | 8 | Nos. | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1157 | 1157 | INR One Thousand One Hundred & Fifty Seven Only |  |  |  | 23 | flat junction | item no.23 | 8 | Nos.
24 | Supply, installation, testing and commissioning of wall recess mounting conventional beam detector with reflector having wide monitoring range from 8 mtrs to 100 mtrs, EN 54 approved including the cost of mounting accessories as required, complete. | item no.24 | 9 | Nos. | 44000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 396000 | 396000 | INR Three Lakh Ninety Six Thousand Only |  |  |  | 24 | Supply, installation, testing and commissioning of wall recess mounting conventional beam detector with reflector having wide monitoring range from 8 mtrs to 100 mtrs, EN 54 approved including the cost of mounting accessories as required, complete. | item no.24 | 9 | Nos.
25 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.25 | 10 | Meter | 980.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9803 | 9803 | INR Nine Thousand Eight Hundred & Three Only |  |  |  | 25 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.25 | 10 | Meter
26 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.26 | [55 empty] | 26 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.26
27 | 85 mm flexible cover | item no.27 | 10 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4323 | 4323 | INR Four Thousand Three Hundred & Twenty Three Only |  |  |  | 27 | 85 mm flexible cover | item no.27 | 10 | Meter
28 | End cap | item no.28 | 3 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 584 | 584 | INR Five Hundred & Eighty Four Only |  |  |  | 28 | End cap | item no.28 | 3 | Nos.
29 | flat junction | item no.29 | 1 | Nos. | 939.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 939 | 939 | INR Nine Hundred & Thirty Nine Only |  |  |  | 29 | flat junction | item no.29 | 1 | Nos.
30 | flat angles | item no.30 | 1 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 763 | 763 | INR Seven Hundred & Sixty Three Only |  |  |  | 30 | flat angles | item no.30 | 1 | Nos.
31 | Joints for 85mm width cover | item no.31 | 4 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 898 | 898 | INR Eight Hundred & Ninety Eight Only |  |  |  | 31 | Joints for 85mm width cover | item no.31 | 4 | Nos.
32 | base joints | item no.32 | 8 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 722 | 722 | INR Seven Hundred & Twenty Two Only |  |  |  | 32 | base joints | item no.32 | 8 | Nos.
33 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.33 | [55 empty] | 33 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item no.33
34 | 3 Module | item no.34 | 10 | Nos. | 315.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3157 | 3157 | INR Three Thousand One Hundred & Fifty Seven Only |  |  |  | 34 | 3 Module | item no.34 | 10 | Nos.
Total in Figures | [51 empty] | 534065 | #REF! | Five Lakh Thirty Four Thousand &Sixty Five Only |  |  |  | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only |  |  |  | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [55 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information